LB435 	LB435

2025 	2025

LEGISLATURE OF NEBRASKA

ONE HUNDRED NINTH LEGISLATURE

FIRST SESSION

LEGISLATIVE BILL 435

Introduced by Wordekemper, 15.

Read first time January 21, 2025

Committee: Business and Labor

1 	A BILL FOR AN ACT relating to the Conveyance Safety Act; to amend

2 	sections 81-5,213, 81-5,215, 81-5,216, 81-5,217, 81-5,218, 81-5,219,

3 	81-5,221, 81-5,223, 81-5,230, and 81-5,239, Reissue Revised Statutes

4 	of Nebraska; to change the duties of the Conveyance Advisory

5 	Committee; to eliminate the granting of variances; to allow the

6 	granting of equivalency requests; to change provisions relating to

7 	exempted and not exempted conveyances, alternative inspections,

8 	applications for elevator mechanic licenses and elevator contractor

9 	licenses, and the method for requesting inspections; to harmonize

10 	provisions; and to repeal the original sections.

11 	Be it enacted by the people of the State of Nebraska,

-1-

LB435 	LB435

2025 	2025

1 	Section 1. Section 81-5,213, Reissue Revised Statutes of Nebraska,

2 	is amended to read:

3 	81-5,213 The committee:

4 	(1) May consult with engineering authorities and organizations

5 	concerned with standard safety codes;

6 	(2) Shall recommend to the State Fire Marshal rules and regulations

7 	governing 	the 	operation, 	maintenance, 	servicing, 	construction,

8 	alteration, installation, and inspection of conveyances;

9 	(3) Shall recommend to the State Fire Marshal qualifications for

10 	licensure as an elevator mechanic or elevator contractor and conditions

11 	for disciplinary actions, including suspension or revocation of a

12 	license;

13 	(4) Shall recommend to the State Fire Marshal rules and regulations

14 	for temporary and emergency elevator mechanic thirty-day licenses;

15 	(5) Shall recommend to the State Fire Marshal an enforcement program

16 	which will ensure compliance with the Conveyance Safety Act and the rules

17 	and regulations adopted and promulgated pursuant to the act. The

18 	enforcement program shall include the identification of property

19 	locations which are subject to the act, issuing notifications to

20 	violating property owners or operators, random onsite inspections and

21 	tests on existing installations, and assisting in development of public

22 	awareness programs; and

23 	(6) Shall make recommendations to the State Fire Marshal regarding

24 	variances under section 81-5,217, continuing education providers under

25 	section 81-5,235 , and license disciplinary actions under section

26 	81-5,237.

27 	Sec. 2. Section 81-5,215, Reissue Revised Statutes of Nebraska, is

28 	amended to read:

29 	81-5,215 (1) The Conveyance Safety Act applies to the construction,

30 	operation, inspection, testing, maintenance, alteration, and repair of

31 	conveyances. Conveyances include the following equipment, associated

-2-

LB435 	LB435

2025 	2025

1 	parts, and hoistways which are not exempted under section 81-5,216:

2 	(a) Hoisting and lowering mechanisms equipped with a car which moves

3 	between two or more landings. This equipment includes elevators;

4 	(b) Power driven stairways and walkways for carrying persons between

5 	landings. This equipment includes:

6 	(i) Escalators; and

7 	(ii) Moving sidewalks; and

8 	(c) Hoisting and lowering mechanisms equipped with a car, which

9 	serves two or more landings and is restricted to the carrying of material

10 	by its limited size or limited access to the car. This equipment

11 	includes:

12 	(i) Dumbwaiters;

13 	(ii) Material lifts and dumbwaiters with automatic transfer devices;

14 	and

15 	(iii) Conveyors and related equipment within the scope of American

16 	Society of Mechanical Engineers B20.1, 2012 Edition.

17 	(2) The act applies to the construction, operation, inspection,

18 	maintenance, alteration, and repair of automatic guided transit vehicles

19 	on guideways with an exclusive right-of-way. This equipment includes

20 	automated people movers.

21 	(3) The act applies to conveyances in private residences located in

22 	counties that have a population of more than one hundred thousand

23 	inhabitants at the time of installation. Such conveyances are subject to

24 	inspection at installation but are not subject to periodic inspections.

25 	Sec. 3. Section 81-5,216, Reissue Revised Statutes of Nebraska, is

26 	amended to read:

27 	81-5,216 The Conveyance Safety Act does not apply to:

28 	(1) Conveyances under the jurisdiction and subject to inspection by

29 	the United States Government;

30 	(2) Conveyances used exclusively for agricultural purposes;

31 	(3) Personnel hoists within the scope of American National Standards

-3-

LB435 	LB435

2025 	2025

1 	Institute A10.4, 2016 Edition;

2 	(4) Material hoists within the scope of American National Standards

3 	Institute A10.5, 2013 Edition;

4 	(5) Manlifts within the scope of American Society of Mechanical

5 	Engineers A90.1, 2015 Edition;

6 	(6) Mobile scaffolds, towers, and platforms within the scope of

7 	American National Standards Institute A92.10, 2009 Edition A92;

8 	(7) Powered platforms and equipment for exterior and interior

9 	maintenance within the scope of American National Standards Institute

10 	120.1;

11 	(8) Cranes, derricks, hoists, hooks, jacks, and slings within the

12 	scope of American Society of Mechanical Engineers B30.10, 2014 Edition

13 	B30;

14 	(9) Industrial trucks within the scope of American Society of

15 	Mechanical Engineers B56;

16 	(9) (10) Portable equipment, except for portable escalators which

17 	are covered by American National Standards Institute A17.1, 2013 Edition;

18 	(10) (11) Tiering or piling machines used to move materials to and

19 	from storage located and operating entirely within one story;

20 	(11) (12) Equipment for feeding or positioning materials at machine

21 	tools, printing presses, and similar equipment;

22 	(12) (13) Skip or furnace hoists;

23 	(13) (14) Wharf ramps;

24 	(14) (15) Railroad car lifts or dumpers;

25 	(15) (16) Line jacks, false cars, shafters, moving platforms, and

26 	similar equipment used for installing a conveyance by an elevator

27 	contractor;

28 	(16) (17) Manlifts, hoists, or conveyances used in grain elevators

29 	or feed mills;

30 	(17) (18) Dock levelators;

31 	(18) (19) Stairway chair lifts and platform lifts; and

-4-

LB435 	LB435

2025 	2025

1 	(19) (20) Conveyances in residences located in counties that have a

2 	population of one hundred thousand or less inhabitants.

3 	Sec. 4. Section 81-5,217, Reissue Revised Statutes of Nebraska, is

4 	amended to read:

5 	81-5,217 (1) The State Fire Marshal shall adopt and promulgate rules

6 	and regulations which establish the regulations for conveyances under the

7 	Conveyance Safety Act. The rules and regulations may include the Safety

8 	Code for Elevators and Escalators, American Society of Mechanical

9 	Engineers A17.1 except those parts exempted under section 81-5,216; the

10 	standards for conveyors and related equipment, American Society of

11 	Mechanical Engineers B20.1; and the Automated People Mover Standards,

12 	American Society of Civil Engineers 21. The State Fire Marshal shall

13 	annually review to determine if the most current form of such standards

14 	should be adopted.

15 	(2) The State Fire Marshal may grant an equivalency request to a

16 	variance from the rules and regulations adopted in subsection (1) of this

17 	section in individual situations upon good cause shown if the safety of

18 	those riding or using the conveyance is not compromised by the

19 	equivalency variance. The State Fire Marshal shall adopt and promulgate

20 	rules and regulations for the procedure to obtain a variance. The

21 	committee shall make recommendations to the State Fire Marshal regarding

22 	each variance requested. The decision of the State Fire Marshal in

23 	granting or refusing to grant an equivalency request a variance may be

24 	appealed. The appeal shall be in accordance with the Administrative

25 	Procedure Act.

26 	Sec. 5. Section 81-5,218, Reissue Revised Statutes of Nebraska, is

27 	amended to read:

28 	81-5,218 Conveyances upon which construction is started subsequent

29 	to January 1, 2008, shall be registered at the time they are completed

30 	and placed in service.

31 	Sec. 6. Section 81-5,219, Reissue Revised Statutes of Nebraska, is

-5-

LB435 	LB435

2025 	2025

1 	amended to read:

2 	81-5,219  On and after January 1, 2008: Prior to any newly installed

3 	conveyance being used for the first time, the property owner or lessee

4 	shall obtain a certificate of inspection from the State Fire Marshal. A

5 	fee established under section 81-5,214 shall be paid for the certificate

6 	of inspection. A licensed elevator contractor shall complete and submit

7 	first-time registrations for new installations to the state elevator

8 	inspector for the inspector's approval. A certificate of inspection shall

9 	be clearly displayed in an elevator car and on or in each other

10 	conveyance.

11 	Sec. 7. Section 81-5,221, Reissue Revised Statutes of Nebraska, is

12 	amended to read:

13 	81-5,221 (1) The State Fire Marshal shall employ a state elevator

14 	inspector who shall work under the direct supervision of the State Fire

15 	Marshal or the State Fire Marshal's designee.

16 	(2) The person so employed shall be qualified by (a) not less than

17 	five years' experience in the installation, maintenance, and repair of

18 	elevators as determined by the State Fire Marshal, (b) certification as a

19 	qualified elevator inspector by an association accredited by the American

20 	Society of Mechanical Engineers, or (c) not less than five years'

21 	journeyman experience 	in 	elevator 	installation, 	maintenance, 	and

22 	inspection as determined by the State Fire Marshal and shall be familiar

23 	with the inspection process and rules and regulations adopted and

24 	promulgated under the Conveyance Safety Act.

25 	(3) The State Fire Marshal may employ deputy inspectors possessing

26 	the same qualifications as the state elevator inspector as necessary to

27 	carry out the Conveyance Safety Act.

28 	Sec. 8. Section 81-5,223, Reissue Revised Statutes of Nebraska, is

29 	amended to read:

30 	81-5,223 (1) No inspection shall be required under the Conveyance

31 	Safety Act when an owner or user of a conveyance: obtains an inspection

-6-

LB435 	LB435

2025 	2025

1 	by a representative of a reputable insurance company licensed to do

2 	business in Nebraska, obtains a policy of insurance from such company

3 	upon the conveyance and files with the State Fire Marshal a certificate

4 	of inspection by such insurance company, files a statement that such

5 	conveyance is insured, and pays an administrative fee established

6 	pursuant to section 81-5,214.

7 	(a) Obtains and submits to the State Fire Marshal a certificate of

8 	inspection from a third-party inspection company;

9 	(b) Obtains a policy of insurance upon the conveyance from a

10 	licensed insurance company;

11 	(c) Files a statement that such conveyance is insured; and

12 	(d) Pays an administrative fee established pursuant to section

13 	81-5,214.

14 	(2) No inspection shall be required under the act when there has

15 	been an annual inspection under a city ordinance which meets the

16 	standards of the act.

17 	Sec. 9. Section 81-5,230, Reissue Revised Statutes of Nebraska, is

18 	amended to read:

19 	81-5,230 (1) Any person wishing to engage in the work of an elevator

20 	mechanic shall apply for and obtain an elevator mechanic license from the

21 	State Fire Marshal. The application shall be on a form provided by the

22 	State Fire Marshal.

23 	(2) Any person wishing to engage in the business of an elevator

24 	contractor shall apply for and obtain an elevator contractor license from

25 	the State Fire Marshal. The application shall be on a form provided by

26 	the State Fire Marshal.

27 	(3) Each application for an elevator mechanic license shall contain:

28 	(a) The name and address of the applicant If an individual, the

29 	name, residence and business address, and social security number of the

30 	applicant;

31 	(b) A contact email address If a partnership, the name, residence

-7-

LB435 	LB435

2025 	2025

1 	and business address, and social security number of each partner;

2 	(c) A contact telephone number If a domestic corporation, the name

3 	and business address of the corporation and the name, residence address,

4 	and social security number of the principal officer of the corporation;

5 	and if a corporation other than a domestic corporation, the name and

6 	address of an agent located locally who is authorized to accept service

7 	of process and official notices;

8 	(d) The number of years the applicant has engaged in the business of

9 	installing, inspecting, maintaining, or servicing conveyances;

10 	(e) The approximate number of individuals to be employed by the

11 	applicant and, if applicable, satisfactory evidence that the employees

12 	are or will be covered by workers' compensation insurance;

13 	(f) Satisfactory evidence that the applicant is or will be covered

14 	by general liability, personal injury, and property damage insurance;

15 	(e) (g) Permission for the State Fire Marshal to access the criminal

16 	history record information of individuals, partners, or officers

17 	maintained by the Federal Bureau of Investigation through the Nebraska

18 	State Patrol; and

19 	(h) A description of all accidents causing personal injury or

20 	property damage in excess of one thousand dollars involving conveyances

21 	installed, inspected, maintained, or serviced by the applicant; and

22 	(f) (i) Such other information as the State Fire Marshal may by rule

23 	and regulation require.

24 	(4) Each application for an elevator contractor license shall

25 	contain:

26 	(a) All information required under subsection (3) of this section;

27 	(b) The name and address of the business;

28 	(c) The approximate number of employees to be employed by the

29 	applicant and, if applicable, satisfactory evidence that the employees

30 	are or will be covered by workers' compensation insurance;

31 	(d) Satisfactory evidence that the applicant is or will be covered

-8-

LB435 	LB435

2025 	2025

1 	by general liability, personal injury, and property damage insurance;

2 	(e) A description of all accidents causing personal injury or

3 	property damage in excess of one thousand dollars involving conveyances

4 	installed, inspected, maintained, or serviced by the applicant; and

5 	(f) The name, telephone number, and Nebraska elevator mechanic

6 	license number of a licensed elevator mechanic employed by or contracted

7 	with the business Social security numbers on applications shall not be

8 	made public or be considered a part of a public record.

9 	Sec. 10. Section 81-5,239, Reissue Revised Statutes of Nebraska, is

10 	amended to read:

11 	81-5,239 (1) Any person may make a request for an investigation into

12 	an alleged violation of the Conveyance Safety Act by giving notice to the

13 	State Fire Marshal or state elevator inspector of such violation or

14 	danger.

15 	(2) Upon receipt of a request for an investigation, the State Fire

16 	Marshal or state elevator inspector shall perform a preliminary inquiry

17 	into the charges contained in the request for investigation. A request

18 	for an investigation may be made in person or in writing by telephone

19 	call and shall set forth with reasonable particularity the grounds for

20 	the request for an investigation. During the preliminary inquiry, the

21 	name, address, and telephone number of the person making the request for

22 	an investigation shall be available only to the State Fire Marshal, state

23 	elevator inspector, or other person carrying out the preliminary inquiry

24 	on behalf of the State Fire Marshal or state elevator inspector. The

25 	State Fire Marshal or state elevator inspector shall keep a record of

26 	each request for an investigation received under this section for three

27 	years after such request is made.

28 	(3) If after the preliminary inquiry the State Fire Marshal or state

29 	elevator inspector determines that there are reasonable grounds to

30 	believe that such violation or danger exists and is likely to continue to

31 	exist such that the operation of the conveyance endangers the public, the

-9-

LB435 	LB435

2025 	2025

1 	State Fire Marshal or state elevator inspector shall cause a formal

2 	investigation to be made. During the formal investigation, a statement

3 	shall be taken from the person who made the request for an investigation

4 	and the person's name, address, and telephone number shall be made

5 	available to any opposing parties upon request.

6 	(4) If the State Fire Marshal or state elevator inspector determines

7 	that there are no reasonable grounds to believe that a violation or

8 	danger exists under either subsection (2) or (3) of this section, the

9 	State Fire Marshal shall notify the person requesting the investigation

10 	in writing of such determination.

11 	Sec. 11.  Original sections 81-5,213, 81-5,215, 81-5,216, 81-5,217,

12 	81-5,218, 81-5,219, 81-5,221, 81-5,223, 81-5,230, and 81-5,239, Reissue

13 	Revised Statutes of Nebraska, are repealed.

-10-