LB1211 	LB1211

2026 	2026

LEGISLATURE OF NEBRASKA

ONE HUNDRED NINTH LEGISLATURE

SECOND SESSION

LEGISLATIVE BILL 1211

Introduced by Riepe, 12.

Read first time January 21, 2026

Committee:

1 	A BILL FOR AN ACT relating to the Automated Medication Systems Act; to

2 	amend section 71-2444, Reissue Revised Statutes of Nebraska, and

3 	section 71-2449, Revised Statutes Cumulative Supplement, 2024; to

4 	provide requirements for automated medication systems operated by

5 	certain pharmacies; to harmonize provisions; and to repeal the

6 	original sections.

7 	Be it enacted by the people of the State of Nebraska,

-1-

LB1211 	LB1211

2026 	2026

1 	Section 1. Section 71-2444, Reissue Revised Statutes of Nebraska, is

2 	amended to read:

3 	71-2444 Sections 71-2444 to 71-2452 and section 3 of this act shall

4 	be known and may be cited as the Automated Medication Systems Act.

5 	Sec. 2. Section 71-2449, Revised Statutes Cumulative Supplement,

6 	2024, is amended to read:

7 	71-2449 (1) An automated medication distribution machine:

8 	(a) Is subject to the requirements of section 71-2447 and, if it is

9 	in a long-term care automated pharmacy, is subject to section 71-2451;

10 	and

11 	(b) Subject to section 71-2451, may be operated or used in a

12 	hospital, long-term care facility, or assisted-living facility for

13 	medication administration pursuant to a chart order or prescription by a

14 	licensed health care professional; and .

15 	(c) Subject to section 71-2447 and section 3 of this act, may be

16 	operated in connection with a pharmacy located on property owned or

17 	leased by the licensed pharmacy, whether within the interior of the

18 	pharmacy building or affixed to, or situated on, the exterior of the

19 	building.

20 	(2) Drugs placed in an automated medication distribution machine

21 	shall be in the manufacturer's original packaging or in containers

22 	repackaged in compliance with state and federal laws, rules, and

23 	regulations relating to repackaging, labeling, and record keeping.

24 	(3) The inventory which is transferred to an automated medication

25 	distribution machine in a hospital shall be excluded from the percent of

26 	total prescription drug sales revenue described in section 71-7454.

27 	Sec. 3.  (1) In order for an automated medication system to be

28 	operated by, or under the authority of, a pharmacy licensed under the

29 	Health Care Facility Licensure Act and located in Nebraska, the

30 	pharmacist in charge of the licensed pharmacy shall annually license the

31 	automated medication system when such system is located on property owned

-2-

| LB1211 |  |  |  |  | LB1211 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2026 | 2026 |  |  |  |  |  |  |  |  |
| 1 | or leased by the licensed pharmacy, whether within the interior of the |  |  |  |  |  |  |  |  |
| 2 | pharmacy building or affixed to, or situated on, the exterior of the |  |  |  |  |  |  |  |  |
| 3 | building. |  |  |  |  |  |  |  |  |
| 4 | (2) The pharmacist in charge of a licensed pharmacy shall submit an |  |  |  |  |  |  |  |  |
| 5 | application for licensure or renewal of licensure to the Division of |  |  |  |  |  |  |  |  |
| 6 | Public Health of the Department of Health and Human Services with a fee |  |  |  |  |  |  |  |  |
| 7 | in an amount determined by the Board of Pharmacy, not to exceed fifty |  |  |  |  |  |  |  |  |
| 8 | dollars. The application shall include: |  |  |  |  |  |  |  |  |
| 9 | (a) The name and location of the licensed pharmacy; |  |  |  |  |  |  |  |  |
| 10 | (b) The physical location of the automated medication system, |  |  |  |  |  |  |  |  |
| 11 | affirming that it is located on property owned or leased by the licensed |  |  |  |  |  |  |  |  |
| 12 | pharmacy, whether within the interior of the pharmacy building or affixed |  |  |  |  |  |  |  |  |
| 13 | to, or situated on, the exterior of the building; and |  |  |  |  |  |  |  |  |
| 14 | (c) The name of the pharmacist in charge of the licensed pharmacy. |  |  |  |  |  |  |  |  |
| 15 | (3) As part of the application process, the division shall conduct |  |  |  |  |  |  |  |  |
| 16 | an inspection of the automated medication system by a pharmacy inspector |  |  |  |  |  |  |  |  |
| 17 | as provided in section 38-28,101. The division shall also conduct |  |  |  |  |  |  |  |  |
| 18 | inspections of the operation of the automated medication system as |  |  |  |  |  |  |  |  |
| 19 | necessary. |  |  |  |  |  |  |  |  |
| 20 | (4) The division shall license an automated medication system which |  |  |  |  |  |  |  |  |
| 21 | meets the licensure requirements of this section. |  |  |  |  |  |  |  |  |
| 22 | (5) A pharmacist in charge of a licensed pharmacy shall apply for a |  |  |  |  |  |  |  |  |
| 23 | separate license for each location at which it operates one or more |  |  |  |  |  |  |  |  |
| 24 | automated medication systems. The licensed pharmacy shall be the provider |  |  |  |  |  |  |  |  |
| 25 | pharmacy for the automated medication system. |  |  |  |  |  |  |  |  |
| 26 | (6) The pharmacist in charge of the licensed pharmacy operating an |  |  |  |  |  |  |  |  |
| 27 | automated medication system shall: |  |  |  |  |  |  |  |  |
| 28 | (a) | Identify | a | pharmacist |  | responsible | for | the | operation, |
| 29 | supervision, and development of policies and procedures of the automated |  |  |  |  |  |  |  |  |
| 30 | medication system. Compliance with this subdivision shall be sufficient |  |  |  |  |  |  |  |  |
| 31 | if the pharmacist monitors the automated medication system electronically |  |  |  |  |  |  |  |  |

-3-

LB1211 	LB1211

2026 	2026

1 	and keeps records of compliance with this requirement for a period of

2 	five years;

3 	(b) Implement the policies and procedures developed to comply with

4 	section 71-2447;

5 	(c) Assure compliance with the prescription drug storage and record

6 	keeping requirements of the Pharmacy Practice Act;

7 	(d) Assure compliance with the labeling requirements described in

8 	subsection (7) of this section;

9 	(e) Develop and implement policies for the verification of a

10 	prescription drug by a pharmacist prior to being loaded into an automated

11 	medication system or for the verification of a prescription drug by a

12 	pharmacist prior to being released to a patient or caregiver; and

13 	(f) Assure that each prescription drug is reviewed by a pharmacist

14 	prior to the release of a drug by an automated medication system;

15 	(7) Each prescription drug dispensed from an automated medication

16 	system shall meet the labeling requirements applicable to prescription

17 	drugs dispensed by a licensed pharmacist pursuant to section 71-2479.

18 	(8) An automated medication system shall not dispense or make

19 	available prescription medication to a patient or caregiver unless

20 	pharmacist care has been offered and made available in a manner

21 	consistent with section 38-2869.

22 	(9) An automated medication system that is located outside a fully

23 	enclosed building shall not be placed in a manner that exposes

24 	medications to adverse environmental conditions or to security risks,

25 	unless the Board of Pharmacy determines, through rule or case-specific

26 	approval, that the automated medication system employs environmental

27 	controls and physical security measures sufficient to protect medication

28 	integrity and prevent diversion.

29 	(10) An automated medication system operated in accordance with this

30 	section shall not store, dispense, or otherwise make available a

31 	controlled substance as defined under state or federal law.

-4-

LB1211 	LB1211

2026 	2026

1 	(11) This section does not apply to a long-term care automated

2 	pharmacy or an automated medication system operated in a long-term care

3 	facility under section 71-2451.

4 	Sec. 4.  Original section 71-2444, Reissue Revised Statutes of

5 	Nebraska, and section 71-2449, Revised Statutes Cumulative Supplement,

6 	2024, are repealed.

-5-