LB1134 	LB1134

2026 	2026

LEGISLATURE OF NEBRASKA

ONE HUNDRED NINTH LEGISLATURE

SECOND SESSION

LEGISLATIVE BILL 1134

Introduced byKauth, 31.

Read first time January 20, 2026

Committee: Urban Affairs

1 	A BILL FOR AN ACT relating to public health and welfare; to amend

2 	sections 81-1608, 81-1618, and 81-2104, Reissue Revised Statutes of

3 	Nebraska, section 71-6403, Revised Statutes Cumulative Supplement,

4 	2024, and sections 71-6406, 72-804, 72-805, 81-1609, and 81-1611,

5 	Revised Statutes Supplement, 2025; to change provisions relating to

6 	state building codes, electrical codes, and energy codes; to change

7 	and provide limitations on local building and construction codes,

8 	energy codes, and electrical codes as prescribed; to harmonize

9 	provisions; and to repeal the original sections.

10 	Be it enacted by the people of the State of Nebraska,

-1-

LB1134 	LB1134

2026 	2026

1 	Section 1. Section 71-6403, Revised Statutes Cumulative Supplement,

2 	2024, is amended to read:

3 	71-6403 (1) There is hereby created the state building code. The

4 	Legislature hereby adopts by reference:

5 	(a) The International Building Code (IBC), 2018 edition, except

6 	section 101.4.3 and chapter 29, published by the International Code

7 	Council, except that (i) section 305.2.3 applies to a facility having

8 	twelve or fewer children and (ii) section 310.4.1 applies to a care

9 	facility for twelve or fewer persons;

10 	(b) The International Residential Code (IRC), 2009 2018 edition,

11 	except section R313 and chapters 25 through 33, published by the

12 	International Code Council;

13 	(c) The International Existing Building Code, 2018 edition, except

14 	section 809, published by the International Code Council; and

15 	(d) The Uniform Plumbing Code, 2018 edition, designated by the

16 	American National Standards Institute as an American National Standard.

17 	(2) The codes adopted by reference in subsection (1) of this section

18 	and the minimum standards for radon resistant new construction adopted

19 	under section 76-3504 shall constitute the state building code except as

20 	amended pursuant to the Building Construction Act or as otherwise

21 	authorized by state law.

22 	Sec. 2. Section 71-6406, Revised Statutes Supplement, 2025, is

23 	amended to read:

24 	71-6406 (1)(a) Any county, city, or village may enact, administer,

25 	or enforce a local building or construction code if or as long as such

26 	county, city, or village:

27 	(i) Adopts the state building code; or

28 	(ii) Adopts a building or construction code that conforms generally

29 	with the state building code.

30 	(b) If a county, city, or village does not adopt a code as

31 	authorized under subdivision (a) of this subsection within two years

-2-

LB1134 	LB1134

2026 	2026

1 	after an update to the state building code, the state building code shall

2 	apply in the county, city, or village, except that such code shall not

3 	apply to construction on a farm or for farm purposes.

4 	(2) A local building or construction code shall be deemed to conform

5 	generally with the state building code if it:

6 	(a) Adopts a special or differing building standard by amending,

7 	modifying, or deleting any portion of the state building code in order to

8 	reduce unnecessary costs of construction, increase safety, durability, or

9 	efficiency, establish best building or construction practices within the

10 	county, city, or village, or address special local conditions within the

11 	county, city, or village;

12 	(b) Adopts any supplement, new edition, appendix, or component or

13 	combination of components of the state building code;

14 	(c) Adopts any of the following:

15 	(i) Section 305 or 310 of the 2018 edition of the International

16 	Building Code without the exceptions described in subdivision (1)(a) of

17 	section 71-6403;

18 	(ii) Section 101.4.3 or any portion of chapter 29 of the 2018

19 	edition of the International Building Code;

20 	(iii) Section R313 or any portion of chapters 25 through 33 of the

21 	2009 2018 edition of the International Residential Code; or

22 	(iv) Section 809 of the 2018 edition of the International Existing

23 	Building Code;

24 	(d) Adopts a plumbing code, an electrical code, a fire prevention

25 	code, or any other standard code as authorized under section 14-419,

26 	15-905, 18-132, or 23-172;

27 	(e) Adopts a local energy code as authorized under section 81-1618;

28 	or

29 	(f) Adopts minimum standards for radon resistant new construction

30 	which meet the minimum standards adopted under section 76-3504.

31 	(3) A local building or construction code shall not be deemed to

-3-

LB1134 	LB1134

2026 	2026

1 	conform generally with the state building code if it:

2 	(a) Includes a prior edition of any component or combination of

3 	components of the state building code; or

4 	(b) Does not include minimum standards for radon resistant new

5 	construction that meet the minimum standards adopted under section

6 	76-3504.

7 	(4) A county, city, or village shall notify the Department of Water,

8 	Energy, and Environment if it amends or modifies its local building or

9 	construction code in such a way as to delete any portion of (a) chapter

10 	13 of the 2018 edition of the International Building Code or (b) chapter

11 	11 of the 2009 2018 edition of the International Residential Code. The

12 	notification shall be made within thirty days after the adoption of such

13 	amendment or modification.

14 	(5) A county, city, or village shall not adopt or enforce a local

15 	building or construction code other than as provided by this section.

16 	(6)(a) Subject to subdivision (b) of this subsection, a (6) A

17 	county, city, or village which adopts or enforces a local building or

18 	construction code under this section shall regularly update its code. For

19 	purposes of this section, a code shall be deemed to be regularly updated

20 	if the most recently enacted state building code or a code that conforms

21 	generally with the state building code is adopted by the county, city, or

22 	village within two years after an update to the state building code.

23 	(b)(i) A county, city, or village that enacts, administers, or

24 	enforces a local building or construction code, electrical code, or

25 	energy code shall not adopt an update or change to such a code without

26 	providing, in a method determined by the governing body of such county,

27 	city, or village, independent third-party evidence verifying that the

28 	update or change is necessary to protect the public from eminently

29 	dangerous situations or otherwise required by state or federal law.

30 	(ii) The independent third-party evidence shall be from a source (a)

31 	that has no financial interest in the adoption or enforcement of the

-4-

LB1134 	LB1134

2026 	2026

1 	proposed code update or change and (b) possesses expertise in public

2 	safety or municipal codes.

3 	(iii) Eminently dangerous situations means situations or safety

4 	hazards that present an imminent and unreasonable risk of death or severe

5 	personal injury.

6 	(c) Until January 1, 2031, a county, city, or village shall not

7 	adopt or enforce a local construction or building code that is more

8 	stringent or a more updated version than the state building code adopted

9 	pursuant to section 71-6403 or a local electrical code that is more

10 	stringent or a more updated version than the National Electrical code

11 	filed with the Secretary of State and adopted by the State Electrical

12 	Board under subdivision (5) of section 81-2104.

13 	(7) A county, city, or village may adopt amendments for the proper

14 	administration and enforcement of its local building or construction code

15 	including organization of enforcement, qualifications of staff members,

16 	examination of plans, inspections, appeals, permits, and fees. Any

17 	amendment adopted pursuant to this section shall be published separately

18 	from the local building or construction code. Any local building or

19 	construction code adopted under subdivision (1)(a) of this section or the

20 	state building code if applicable under subdivision (1)(b) of this

21 	section shall be the legally applicable code regardless of whether the

22 	county, city, or village has provided for the administration or

23 	enforcement of its local building or construction code under this

24 	subsection.

25 	(8) A county, city, or village which adopts one or more standard

26 	codes as part of its local building or construction code under this

27 	section shall keep at least one copy of each adopted code, or portion

28 	thereof, for use and examination by the public in the office of the clerk

29 	of the county, city, or village prior to the adoption of the code and as

30 	long as such code is in effect.

31 	(9) Notwithstanding the provisions of the Building Construction Act,

-5-

LB1134 	LB1134

2026 	2026

1 	a public building of any political subdivision shall be built in

2 	accordance with the applicable local building or construction code. Fees,

3 	if any, for services which monitor a builder's application of codes shall

4 	be negotiable between the political subdivisions involved, but such fees

5 	shall not exceed the actual expenses incurred by the county, city, or

6 	village doing the monitoring.

7 	Sec. 3. Section 72-804, Revised Statutes Supplement, 2025, is

8 	amended to read:

9 	72-804 (1) Any new state building shall meet or exceed the

10 	requirements of the 2009 2018 International Energy Conservation Code

11 	published by the International Code Council.

12 	(2) Any new lighting, heating, cooling, ventilating, or water

13 	heating equipment or controls in a state-owned building and any new

14 	building envelope components installed in a state-owned building shall

15 	meet or exceed the requirements of the 2009 2018 International Energy

16 	Conservation Code.

17 	(3) 	The 	State 	Building 	Administrator 	of 	the 	Department 	of

18 	Administrative Services, in consultation with the Department of Water,

19 	Energy, and Environment, may specify:

20 	(a) A more recent edition of the International Energy Conservation

21 	Code;

22 	(b) Additional energy efficiency or renewable energy requirements

23 	for buildings; and

24 	(c) Waivers of specific requirements which are demonstrated through

25 	life-cycle cost analysis to not be in the state's best interest. The

26 	agency receiving the funding shall be required to provide a life-cycle

27 	cost analysis to the State Building Administrator.

28 	Sec. 4. Section 72-805, Revised Statutes Supplement, 2025, is

29 	amended to read:

30 	72-805 Except as provided in section 58-712 for certain projects

31 	funded by the Affordable Housing Trust Fund, the 2009 2018 International

-6-

LB1134 	LB1134

2026 	2026

1 	Energy Conservation Code, published by the International Code Council,

2 	applies to all new buildings constructed in whole or in part with state

3 	funds after July 1, 2020. The Department of Water, Energy, and

4 	Environment shall review building plans and specifications necessary to

5 	determine whether a building will meet the requirements of this section,

6 	except that the department shall not be required to review building plans

7 	and 	specifications 	upon 	evidence 	that 	the 	building 	plans 	and

8 	specifications have previously been reviewed by a county, city, or

9 	village enforcing a local building or construction code adopted pursuant

10 	to section 71-6406 if such local building or construction code includes

11 	the requirements of the 2009 2018 International Energy Conservation Code.

12 	The department shall provide a copy of any review to the agency receiving

13 	funding. The agency receiving the funding shall verify that the building

14 	as constructed meets or exceeds the code. The verification shall be

15 	provided to the department. The Director of Water, Energy, and

16 	Environment may, in consultation with the State Building Administrator of

17 	the Department of Administrative Services, adopt and promulgate rules and

18 	regulations to carry out this section.

19 	Sec. 5. Section 81-1608, Reissue Revised Statutes of Nebraska, is

20 	amended to read:

21 	81-1608 The Legislature finds that consumers have an expectation

22 	that newly built houses or buildings they buy meet uniform energy

23 	efficiency standards. Therefor, the Legislature finds that there is a

24 	need to adopt the 2009 2018 International Energy Conservation Code,

25 	published by the International Code Council, in order (1) to ensure that

26 	a minimum energy efficiency standard is maintained throughout the state,

27 	(2) to harmonize and clarify energy building code statutory references,

28 	(3) to ensure compliance with the federal Energy Policy Act of 1992, (4)

29 	to increase energy savings for all Nebraska consumers, especially low-

30 	income Nebraskans, (5) to reduce the cost of state programs that provide

31 	assistance to low-income Nebraskans, (6) to reduce the amount of money

-7-

LB1134 	LB1134

2026 	2026

1 	expended to import energy, (7) to reduce the growth of energy

2 	consumption, (8) to lessen the need for new power plants, and (9) to

3 	provide training for local code officials and residential and commercial

4 	builders who implement the 2018 International Energy Conservation Code.

5 	Sec. 6. Section 81-1609, Revised Statutes Supplement, 2025, is

6 	amended to read:

7 	81-1609 As used in sections 81-1608 to 81-1626, unless the context

8 	otherwise requires:

9 	(1) 	Department 	means the 	Department 	of 	Water, 	Energy, 	and

10 	Environment;

11 	(2) Contractor means the person or entity responsible for the

12 	overall construction of any building or the installation of any component

13 	which affects the energy efficiency of the building;

14 	(3) Architect or engineer means any person licensed as an architect

15 	or professional engineer under the Engineers and Architects Regulation

16 	Act;

17 	(4) Building means any new structure, renovated building, or

18 	addition which is used or intended for supporting or sheltering any use

19 	or occupancy, but not including any structure which has a consumption of

20 	traditional energy sources for all purposes not exceeding the energy

21 	equivalent of three and four-tenths British Thermal Units per hour or one

22 	watt per square foot;

23 	(5) Residential building means a building three stories or less that

24 	is used primarily as one or more dwelling units;

25 	(6) Renovation means alterations on an existing building which will

26 	cost more than fifty percent of the replacement cost of such building at

27 	the time work is commenced or which was not previously heated or cooled,

28 	for which a heating or cooling system is now proposed, except that the

29 	restoration of historical buildings shall not be included;

30 	(7) Addition means an extension or increase in the height,

31 	conditioned floor area, or conditioned volume of a building or structure;

-8-

LB1134 	LB1134

2026 	2026

1 	(8) Floor area means the total area of the floor or floors of a

2 	building, expressed in square feet, which is within the exterior faces of

3 	the shell of the structure which is heated or cooled;

4 	(9) Nebraska Energy Code means the 2009 2018 International Energy

5 	Conservation Code published by the International Code Council;

6 	(10) Traditional energy sources means electricity, petroleum-based

7 	fuels, uranium, coal, and all nonrenewable forms of energy; and

8 	(11) Equivalent or equivalent code means standards that meet or

9 	exceed the requirements of the Nebraska Energy Code.

10 	Sec. 7. Section 81-1611, Revised Statutes Supplement, 2025, is

11 	amended to read:

12 	81-1611 The Legislature hereby adopts the 2009 2018 International

13 	Energy Conservation Code published by the International Code Council as

14 	the Nebraska Energy Code. The Director of Water, Energy, and Environment

15 	may adopt regulations specifying alternative standards for building

16 	systems, techniques, equipment designs, or building materials that shall

17 	be deemed equivalent to the Nebraska Energy Code. Regulations specifying

18 	alternative standards may be deemed equivalent to the Nebraska Energy

19 	Code and may be approved for general or limited use if the use of such

20 	alternative standards would not result in energy consumption greater than

21 	would result from the strict application of the Nebraska Energy Code.

22 	Sec. 8. Section 81-1618, Reissue Revised Statutes of Nebraska, is

23 	amended to read:

24 	81-1618 (1) Any county, city, or village may adopt and enforce a

25 	local energy code. Such local energy code shall be deemed equivalent to

26 	the Nebraska Energy Code if it does not result in energy consumption

27 	greater than would result from the strict application of the Nebraska

28 	Energy Code and is reasonably consistent with the intent of sections

29 	81-1608 to 81-1626. Any building or portion thereof subject to the

30 	jurisdiction of and inspected by such county, city, or village shall be

31 	deemed to comply with sections 81-1608 to 81-1626 if it meets the

-9-

LB1134 	LB1134

2026 	2026

1 	standards of such local energy code. Such county, city, or village may by

2 	ordinance or resolution prescribe a schedule of fees sufficient to pay

3 	the costs incurred pursuant to sections 81-1608 to 81-1626.

4 	(2) Any county, city, or village which adopts and enforces a local

5 	energy code may waive a specific requirement of the Nebraska Energy Code

6 	when meeting such requirement is not economically justified. The local

7 	code authority shall submit to the department its analysis for

8 	determining that a specific requirement is not justified. The department

9 	shall review such analysis and transmit its findings and conclusions to

10 	the local code authority within a reasonable time. The local code

11 	authority shall submit to the department its explanation as to how the

12 	original code or any revised code addresses the issues raised by the

13 	department. After a local code authority has submitted such explanation,

14 	the authority may proceed to enforce its local energy code.

15 	(3) Notwithstanding subsection (1) and (2) of this section and until

16 	January 1, 2031, a county, city, or village shall not adopt or enforce a

17 	local energy code that is more stringent or a more updated version than

18 	the Nebraska Energy Code adopted pursuant to section 81-1611.

19 	Sec. 9. Section 81-2104, Reissue Revised Statutes of Nebraska, is

20 	amended to read:

21 	81-2104 The board shall have power to:

22 	(1) Elect its own officers;

23 	(2) Engage and fix the compensation of such officers, inspectors,

24 	and employees as may be required in the performance of its duties;

25 	(3) Pay such other expenses as may be necessary in the performance

26 	of its duties;

27 	(4) Provide upon request such additional voluntary inspections and

28 	reviews as it deems appropriate;

29 	(5) Adopt, promulgate, and revise rules and regulations necessary to

30 	enable it to carry into effect the State Electrical Act. In adopting and

31 	promulgating such rules and regulations, the board shall be governed by

-10-

LB1134 	LB1134

2026 	2026

1 	the minimum standards set forth in the National Electrical Code issued

2 	and adopted by the National Fire Protection Association beginning in the

3 	2008 2023 edition of the National Electrical Code, Publication Number

4 	70-2008 70-2023, except that the minimum standards set forth in the 2017

5 	edition of the National Electrical Code shall apply for sections

6 	210.8(A), 210.8(A)(3), 210.8(A)(5), 230.67(A), and 230.85. The Each

7 	edition of the National Electrical Code mentioned in this subdivision

8 	shall be filed in the offices of the Secretary of State and the board

9 	during the time the edition is in use under this subdivision and shall be

10 	a public record. The board shall adopt and promulgate rules and

11 	regulations establishing wiring standards that protect public safety and

12 	health and property and that apply to all electrical wiring which is

13 	installed subject to the State Electrical Act;

14 	(6) Revoke, suspend, or refuse to renew any license or registration

15 	granted pursuant to the State Electrical Act when the licensee or

16 	registrant (a) violates any provision of the National Electrical Code as

17 	adopted pursuant to subdivision (5) of this section, the act, or any rule

18 	or regulation adopted and promulgated pursuant to the act, (b) fails or

19 	refuses to pay any examination, registration, or license renewal fee

20 	required by law, (c) is an electrical contractor or master electrician

21 	and fails or refuses to provide and keep in force a public liability

22 	insurance policy as required by the board, or (d) violates any political

23 	subdivision's approved inspection ordinances;

24 	(7) Order disconnection of power to any electrical installation that

25 	is proximately dangerous to health and property;

26 	(8) Order removal of electrical wiring and apparatus from premises

27 	when such wiring and apparatus is proximately dangerous to health and

28 	property;

29 	(9) Investigate, for the purpose of identifying dangerous electrical

30 	wiring or violations of the National Electrical Code as adopted pursuant

31 	to subdivision (5) of this section, any death by electrocution that

-11-

LB1134 	LB1134

2026 	2026

1 	occurs within the State of Nebraska;

2 	(10) Refuse to renew any license granted pursuant to the act when

3 	the licensee fails to submit evidence of completing the continuing

4 	education requirements under section 81-2117.01;

5 	(11) Provide for the amount and collection of fees for inspection

6 	and other services;

7 	(12) Adopt a seal, and the executive secretary shall have the care

8 	and custody thereof; and

9 	(13) Enforce the provisions of the National Electrical Code as

10 	adopted pursuant to subdivision (5) of this section.

11 	Sec. 10.  Original sections 81-1608, 81-1618, and 81-2104, Reissue

12 	Revised Statutes 	of 	Nebraska, section 	71-6403, 	Revised 	Statutes

13 	Cumulative Supplement, 2024, and sections 71-6406, 72-804, 72-805,

14 	81-1609, and 81-1611, Revised Statutes Supplement, 2025, are repealed.

-12-