LB801 	LB801

2026 	2026

LEGISLATURE OF NEBRASKA

ONE HUNDRED NINTH LEGISLATURE

SECOND SESSION

LEGISLATIVE BILL 801

Introduced by Urban Affairs Committee: McKinney, 11, Chairperson;

Cavanaugh, J., 9; Quick, 35; Rountree, 3.

Read first time January 07, 2026

Committee:

1 	A BILL FOR AN ACT relating to buildings; to amend section 71-6403,

2 	Revised Statutes Cumulative Supplement, 2024, and section 71-6406,

3 	Revised Statutes Supplement, 2025; to adopt updates to building and

4 	energy codes; and to repeal the original sections.

5 	Be it enacted by the people of the State of Nebraska,

-1-

LB801 	LB801

2026 	2026

1 	Section 1. Section 71-6403, Revised Statutes Cumulative Supplement,

2 	2024, is amended to read:

3 	71-6403 (1) There is hereby created the state building code. The

4 	Legislature hereby adopts by reference:

5 	(a) The International Building Code (IBC), chapter 13 of the 2024

6 	edition, and all but such chapter of the 2018 edition, except section

7 	101.4.3 and chapter 29, published by the International Code Council,

8 	except that (i) section 305.2.3 applies to a facility having twelve or

9 	fewer children and (ii) section 310.4.1 applies to a care facility for

10 	twelve or fewer persons;

11 	(b) The International Residential Code (IRC), chapter 11 of the 2024

12 	edition, and all but such chapter of the 2018 edition, except section

13 	R313 and chapters 25 through 33, published by the International Code

14 	Council;

15 	(c) The International Existing Building Code, 2018 edition, except

16 	section 809, published by the International Code Council; and

17 	(d) The Uniform Plumbing Code, 2018 edition, designated by the

18 	American National Standards Institute as an American National Standard.

19 	(2) The codes adopted by reference in subsection (1) of this section

20 	and the minimum standards for radon resistant new construction adopted

21 	under section 76-3504 shall constitute the state building code except as

22 	amended pursuant to the Building Construction Act or as otherwise

23 	authorized by state law.

24 	Sec. 2. Section 71-6406, Revised Statutes Supplement, 2025, is

25 	amended to read:

26 	71-6406 (1)(a) Any county, city, or village may enact, administer,

27 	or enforce a local building or construction code if or as long as such

28 	county, city, or village:

29 	(i) Adopts the state building code; or

30 	(ii) Adopts a building or construction code that conforms generally

31 	with the state building code.

-2-

LB801 	LB801

2026 	2026

1 	(b) If a county, city, or village does not adopt a code as

2 	authorized under subdivision (a) of this subsection within two years

3 	after an update to the state building code, the state building code shall

4 	apply in the county, city, or village, except that such code shall not

5 	apply to construction on a farm or for farm purposes.

6 	(2) A local building or construction code shall be deemed to conform

7 	generally with the state building code if it:

8 	(a) Adopts a special or differing building standard by amending,

9 	modifying, or deleting any portion of the state building code in order to

10 	reduce unnecessary costs of construction, increase safety, durability, or

11 	efficiency, establish best building or construction practices within the

12 	county, city, or village, or address special local conditions within the

13 	county, city, or village;

14 	(b) Adopts any supplement, new edition, appendix, or component or

15 	combination of components of the state building code;

16 	(c) Adopts any of the following:

17 	(i) Chapter 13 of the 2024 edition of the International Building

18 	Code;

19 	(ii) (i) Section 305 or 310 of the 2018 edition of the International

20 	Building Code without the exceptions described in subdivision (1)(a) of

21 	section 71-6403;

22 	(iii) (ii) Section 101.4.3 or any portion of chapter 29 of the 2018

23 	edition of the International Building Code;

24 	(iv) Chapter 11 of the 2024 edition of the International Residential

25 	Code;

26 	(v) (iii) Section R313 or any portion of chapters 25 through 33 of

27 	the 2018 edition of the International Residential Code; or

28 	(vi) (iv) Section 809 of the 2018 edition of the International

29 	Existing Building Code;

30 	(d) Adopts a plumbing code, an electrical code, a fire prevention

31 	code, or any other standard code as authorized under section 14-419,

-3-

LB801 	LB801

2026 	2026

1 	15-905, 18-132, or 23-172;

2 	(e) Adopts a local energy code as authorized under section 81-1618;

3 	or

4 	(f) Adopts minimum standards for radon resistant new construction

5 	which meet the minimum standards adopted under section 76-3504.

6 	(3) A local building or construction code shall not be deemed to

7 	conform generally with the state building code if it:

8 	(a) Includes a prior edition of any component or combination of

9 	components of the state building code; or

10 	(b) Does not include minimum standards for radon resistant new

11 	construction that meet the minimum standards adopted under section

12 	76-3504.

13 	(4) A county, city, or village shall notify the Department of Water,

14 	Energy, and Environment if it amends or modifies its local building or

15 	construction code in such a way as to delete any portion of (a) chapter

16 	13 of the 2024 2018 edition of the International Building Code or (b)

17 	chapter 11 of the 2024 2018 edition of the International Residential

18 	Code. The notification shall be made within thirty days after the

19 	adoption of such amendment or modification.

20 	(5) A county, city, or village shall not adopt or enforce a local

21 	building or construction code other than as provided by this section.

22 	(6) A county, city, or village which adopts or enforces a local

23 	building or construction code under this section shall regularly update

24 	its code. For purposes of this section, a code shall be deemed to be

25 	regularly updated if the most recently enacted state building code or a

26 	code that conforms generally with the state building code is adopted by

27 	the county, city, or village within two years after an update to the

28 	state building code.

29 	(7) A county, city, or village may adopt amendments for the proper

30 	administration and enforcement of its local building or construction code

31 	including organization of enforcement, qualifications of staff members,

-4-

LB801 	LB801

2026 	2026

1 	examination of plans, inspections, appeals, permits, and fees. Any

2 	amendment adopted pursuant to this section shall be published separately

3 	from the local building or construction code. Any local building or

4 	construction code adopted under subdivision (1)(a) of this section or the

5 	state building code if applicable under subdivision (1)(b) of this

6 	section shall be the legally applicable code regardless of whether the

7 	county, city, or village has provided for the administration or

8 	enforcement of its local building or construction code under this

9 	subsection.

10 	(8) A county, city, or village which adopts one or more standard

11 	codes as part of its local building or construction code under this

12 	section shall keep at least one copy of each adopted code, or portion

13 	thereof, for use and examination by the public in the office of the clerk

14 	of the county, city, or village prior to the adoption of the code and as

15 	long as such code is in effect.

16 	(9) Notwithstanding the provisions of the Building Construction Act,

17 	a public building of any political subdivision shall be built in

18 	accordance with the applicable local building or construction code. Fees,

19 	if any, for services which monitor a builder's application of codes shall

20 	be negotiable between the political subdivisions involved, but such fees

21 	shall not exceed the actual expenses incurred by the county, city, or

22 	village doing the monitoring.

23 	Sec. 3.  Original section 71-6403, Revised Statutes Cumulative

24 	Supplement, 2024, and section 71-6406, Revised Statutes Supplement, 2025,

25 	are repealed.

-5-