LB1193 	LB1193

2026 	2026

LEGISLATURE OF NEBRASKA

ONE HUNDRED NINTH LEGISLATURE

SECOND SESSION

LEGISLATIVE BILL 1193

Introduced by Prokop, 27; Bostar, 29.

Read first time January 21, 2026

Committee:

1 	A BILL FOR AN ACT relating to electricity; to amend sections 77-105 and

2 	77-6201, Reissue Revised Statutes of Nebraska, sections 77-6202 and

3 	77-6203, Revised Statutes Cumulative Supplement, 2024, and sections

4 	13-518, 70-1001.01, 	77-202, 	and 	77-6204, 	Revised 	Statutes

5 	Supplement, 2025; to state legislative findings and declarations; to

6 	define and redefine terms; to provide regulation of and requirements

7 	for energy storage resources; to change provisions relating to

8 	property tax exemptions and the nameplate capacity tax; to harmonize

9 	provisions; to provide an operative date; and to repeal the original

10 	sections.

11 	Be it enacted by the people of the State of Nebraska,

-1-

LB1193 	LB1193

2026 	2026

1 	Section 1. Section 13-518, Revised Statutes Supplement, 2025, is

2 	amended to read:

3 	13-518 For purposes of sections 13-518 to 13-522:

4 	(1) Allowable growth means (a) for governmental units other than

5 	community colleges, the percentage increase in taxable valuation in

6 	excess of the base limitation established under section 77-3446, if any,

7 	due to (i) improvements to real property as a result of new construction

8 	and additions to existing buildings, (ii) any other improvements to real

9 	property which increase the value of such property, (iii) any increase in

10 	valuation due to annexation of real property by the governmental unit,

11 	(iv) a change in the use of real property, (v) any increase in personal

12 	property valuation over the prior year, and (vi) the accumulated excess

13 	valuation over the redevelopment project valuation described in section

14 	18-2147 of the Community Development Law for redevelopment projects

15 	within the governmental unit in the year immediately after the division

16 	of taxes for such redevelopment project has ended and (b) for community

17 	colleges, the percentage increase in excess of the base limitation, if

18 	any, in full-time equivalent students from the second year to the first

19 	year preceding the year for which the budget is being determined;

20 	(2) Capital improvements means (a) acquisition of real property or

21 	(b) acquisition, construction, or extension of any improvements on real

22 	property;

23 	(3) Governing body has the same meaning as in section 13-503, except

24 	that for fiscal years beginning on or after July 1, 2025, such term shall

25 	not include the governing body of any county, city, or village;

26 	(4) Governmental unit means every political subdivision which has

27 	authority to levy a property tax or authority to request levy authority

28 	under section 77-3443, except that such term shall not include (a)

29 	sanitary and improvement districts which have been in existence for five

30 	years or less, (b) school districts, or (c) for fiscal years beginning on

31 	or after July 1, 2025, counties, cities, or villages;

-2-

| LB1193 |  |  |  |  |  | LB1193 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2026 | 2026 |  |  |  |  |  |  |  |  |  |
| 1 | (5) Qualified sinking fund means a fund or funds maintained |  |  |  |  |  |  |  |  |  |
| 2 | separately from the general fund to pay for acquisition or replacement of |  |  |  |  |  |  |  |  |  |
| 3 | tangible personal property with a useful life of five years or more which |  |  |  |  |  |  |  |  |  |
| 4 | is to be undertaken in the future but is to be paid for in part or in |  |  |  |  |  |  |  |  |  |
| 5 | total in advance using periodic payments into the fund. The term includes |  |  |  |  |  |  |  |  |  |
| 6 | sinking funds under subdivision (13) of section 35-508 for firefighting |  |  |  |  |  |  |  |  |  |
| 7 | and rescue equipment or apparatus; |  |  |  |  |  |  |  |  |  |
| 8 | (6) Restricted funds means (a) property tax, excluding any amounts |  |  |  |  |  |  |  |  |  |
| 9 | refunded to taxpayers, (b) payments in lieu of property taxes, (c) local |  |  |  |  |  |  |  |  |  |
| 10 | option sales taxes, (d) motor vehicle taxes, (e) state aid, (f) transfers |  |  |  |  |  |  |  |  |  |
| 11 | of surpluses from any user fee, permit fee, or regulatory fee if the fee |  |  |  |  |  |  |  |  |  |
| 12 | surplus is transferred to fund a service or function not directly related |  |  |  |  |  |  |  |  |  |
| 13 | to the fee and the costs of the activity funded from the fee, (g) any |  |  |  |  |  |  |  |  |  |
| 14 | funds excluded from restricted funds for the prior year because they were |  |  |  |  |  |  |  |  |  |
| 15 | budgeted for capital improvements but which were not spent and are not |  |  |  |  |  |  |  |  |  |
| 16 | expected to be spent for capital improvements, (h) the tax provided in |  |  |  |  |  |  |  |  |  |
| 17 | sections 77-27,223 to 77-27,227 beginning in the second fiscal year in |  |  |  |  |  |  |  |  |  |
| 18 | which the county will receive a full year of receipts, and (i) any excess |  |  |  |  |  |  |  |  |  |
| 19 | tax collections returned to the county under section 77-1776. Funds |  |  |  |  |  |  |  |  |  |
| 20 | received pursuant to the nameplate capacity tax levied under section |  |  |  |  |  |  |  |  |  |
| 21 | 77-6203 for the first five years after a renewable energy generation |  |  |  |  |  |  |  |  |  |
| 22 | facility | or | energy | storage | resource |  | has | been | commissioned | are |
| 23 | nonrestricted funds; and |  |  |  |  |  |  |  |  |  |
| 24 | (7) State aid means: |  |  |  |  |  |  |  |  |  |
| 25 | (a) For all governmental units, state aid paid pursuant to sections |  |  |  |  |  |  |  |  |  |
| 26 | 60-3,202 and 77-3523 and reimbursement provided pursuant to section |  |  |  |  |  |  |  |  |  |
| 27 | 77-1239; |  |  |  |  |  |  |  |  |  |
| 28 | (b) For municipalities, state aid to municipalities paid pursuant to |  |  |  |  |  |  |  |  |  |
| 29 | sections 39-2501 to 39-2520, 60-3,190, and 77-27,139.04 and insurance |  |  |  |  |  |  |  |  |  |
| 30 | premium tax paid to municipalities; |  |  |  |  |  |  |  |  |  |
| 31 | (c) For counties, state aid to counties paid pursuant to sections |  |  |  |  |  |  |  |  |  |

-3-

LB1193 	LB1193

2026 	2026

1 	60-3,184 to 60-3,190, insurance premium tax paid to counties, and

2 	reimbursements to counties from funds appropriated pursuant to section

3 	29-3933;

4 	(d) For community colleges, state aid to community colleges paid

5 	pursuant to the Community College Aid Act;

6 	(e) For educational service units, state aid appropriated under

7 	sections 79-1241.01 and 79-1241.03; and

8 	(f) For local public health departments as defined in section

9 	71-1626, state aid as distributed under section 71-1628.08.

10 	Sec. 2. Section 70-1001.01, Revised Statutes Supplement, 2025, is

11 	amended to read:

12 	70-1001.01 For purposes of sections 70-1001 to 70-1028.02 and

13 	section 3 of this act, unless the context otherwise requires:

14 	(1) Board means the Nebraska Power Review Board;

15 	(2) Commercial electric vehicle charging station means equipment

16 	designed to provide electricity for a fee for the charging of an electric

17 	vehicle or a plug-in hybrid electric vehicle, including an electric

18 	vehicle direct-current charger or a super-fast charger, any successor

19 	technology, and all components thereof. Commercial electric vehicle

20 	charging station does not include the residence of a person where an

21 	electric vehicle or a plug-in hybrid electric vehicle is charged if no

22 	customer usage fee is charged;

23 	(3) Commercial electric vehicle charging station operator means a

24 	person, partnership, corporation, or other business entity or political

25 	subdivision that operates a commercial electric vehicle charging station;

26 	(4) Direct-current, fast-charging station means a publicly available

27 	charging system capable of delivering at least fifty kilowatts of direct-

28 	current electrical power to an electric vehicle's rechargeable battery at

29 	a voltage of two hundred volts or greater;

30 	(5) Direct-current, fast-charging station operator means a person,

31 	partnership, corporation, or other business entity that operates a

-4-

LB1193 	LB1193

2026 	2026

1 	direct-current, fast-charging station open to the public. The term does

2 	not include an electric supplier or a political subdivision;

3 	(6) Electric supplier or supplier of electricity means any legal

4 	entity supplying, producing, or distributing electricity within the state

5 	for sale at wholesale or retail. Electric supplier does not include a

6 	commercial electric vehicle charging station operator that is a private

7 	person or privately owned partnership, privately owned corporation, or

8 	other privately owned business;

9 	(7) Electronic-related 	means 	relating 	to 	electronic 	devices,

10 	circuits, or similar systems, or the components of such electronic

11 	devices, circuits, or similar systems, that require electrical currents

12 	or electromagnetism to operate;

13 	(8) Foreign adversary means a foreign government or foreign

14 	nongovernment person determined to be a foreign adversary pursuant to 15

15 	C.F.R. 791.4, as such regulation existed on February 7, 2025;

16 	(9) Military installation means:

17 	(a) A United States Air Force ballistic missile silo located within

18 	the geographic area described in 31 C.F.R. 802.211(b)(3), as such

19 	regulation existed on January 1, 2025; or

20 	(b) A United States Air Force base described in 31 C.F.R.

21 	802.227(c), as such regulation existed on January 1, 2025;

22 	(10) Plug-in hybrid electric vehicle has the same meaning as in

23 	section 60-345.01;

24 	(11) Private electric supplier means an electric supplier producing

25 	electricity from a privately developed renewable energy generation

26 	facility that is not a public power district, a public power and

27 	irrigation 	district, 	a 	municipality, 	a 	registered 	group 	of

28 	municipalities, 	an 	electric 	cooperative, 	an 	electric 	membership

29 	association, any other governmental entity, or any combination thereof. A

30 	private electric supplier is limited to the development of those

31 	facilities as provided in subdivision (12) of this section;

-5-

LB1193 	LB1193

2026 	2026

1 	(12) Privately developed renewable energy generation facility means

2 	and is limited to a facility that (a) generates electricity using solar,

3 	wind, geothermal, biomass, landfill gas, or biogas, including all

4 	electrically connected equipment used to produce, collect, and store the

5 	facility output up to and including the transformer that steps up the

6 	voltage to sixty thousand volts or greater, and including supporting

7 	structures, buildings, and roads, unless otherwise agreed to in a joint

8 	transmission development agreement, (b) is developed, constructed, and

9 	owned, in whole or in part, by one or more private electric suppliers,

10 	and (c) is not wholly owned by a public power district, a public power

11 	and 	irrigation 	district, 	a 	municipality, 	a 	registered 	group 	of

12 	municipalities, 	an 	electric 	cooperative, 	an 	electric 	membership

13 	association, any other governmental entity, or any combination thereof;

14 	(13) Regional transmission organization means an entity independent

15 	from those entities generating or marketing electricity at wholesale or

16 	retail, which has operational control over the electric transmission

17 	lines in a designated geographic area in order to reduce constraints in

18 	the flow of electricity and ensure that all power suppliers have open

19 	access to transmission lines for the transmission of electricity;

20 	(14) Reliable or reliability means the ability of an electric

21 	supplier to supply the aggregate electric power and energy requirements

22 	of its electricity consumers in Nebraska at all times under normal

23 	operating conditions, taking into account scheduled and unscheduled

24 	outages, including sudden disturbances or unanticipated loss of system

25 	components that are to be reasonably expected for any electric utility

26 	following prudent 	utility 	practices, 	recognizing 	certain 	weather

27 	conditions and other contingencies may cause outages at the distribution,

28 	transmission, and generation level;

29 	(15) Representative organization means an organization designated by

30 	the board and organized for the purpose of providing joint planning and

31 	encouraging maximum 	cooperation 	and 	coordination 	among 	electric

-6-

LB1193 	LB1193

2026 	2026

1 	suppliers. Such organization shall represent electric suppliers owning a

2 	combined electric generation plant accredited capacity of at least ninety

3 	percent of the total electric generation plant accredited capacity

4 	constructed and in operation within the state;

5 	(16) State means the State of Nebraska; and

6 	(17) Unbundled retail rates means the separation of utility bills

7 	into the individual price components for which an electric supplier

8 	charges its retail customers, including, but not limited to, the separate

9 	charges 	for 	the 	generation, 	transmission, 	and 	distribution 	of

10 	electricity.

11 	Sec. 3.  (1) The Legislature finds and declares that:

12 	(a) The nameplate capacity tax established in 2010 has succeeded at

13 	generating revenue for Nebraska residents based on the nameplate capacity

14 	of privately developed renewable energy generation facilities;

15 	(b) Privately developed energy storage resources can generate

16 	similar tax revenue, support economic development in the state, and

17 	strengthen the electric grid by improving capacity and reliability. These

18 	benefits help all Nebraskans. It is the policy of the state to encourage

19 	investment in the state and economic development; and

20 	(c) To benefit the citizens of Nebraska, energy storage resources

21 	should be subject to the nameplate capacity tax and protected from any

22 	foreign adversary's control.

23 	(2) For purposes of this section:

24 	(a) Associated energy storage resource means any energy storage

25 	resource that is:

26 	(i) Electrically connected to a privately developed renewable energy

27 	generation facility;

28 	(ii) Located on the same premises or in the immediate vicinity of

29 	such facility;

30 	(iii) Jointly owned or contractually affiliated with the facility;

31 	(iv) Primarily intended to store the electric energy produced at the

-7-

LB1193 	LB1193

2026 	2026

1 	facility; and

2 	(v) Rated in combination with all associated energy storage

3 	resources of the facility and the facility itself at an aggregate

4 	capacity no greater than the rated capacity of the facility;

5 	(b)(i) Energy storage resource means a resource capable of:

6 	(A) Receiving and transmitting electric energy to and from the

7 	electrical grid or receiving electric energy from a generation resource

8 	with which the energy storage resource is associated; and

9 	(B) Storing electric energy for later injection of electric energy

10 	into the electrical grid.

11 	(ii) Energy storage resource does not include any device or

12 	equipment intended solely to:

13 	(A) Inject or absorb reactive power, including any capacitor and

14 	synchronous condenser; or

15 	(B) Provide power for electric vehicles;

16 	(c) Scrutinized company has the same meaning as in section 73-903;

17 	and

18 	(d) Standalone energy storage resource means a publicly or privately

19 	owned energy storage resource that is not an associated energy storage

20 	resource.

21 	(3)(a) A standalone energy storage resource shall be treated as an

22 	electric generation facility that requires an application filed with and

23 	is eligible for approval by the board pursuant to sections 70-1012 to

24 	70-1016.

25 	(b) The owner of a standalone energy storage resource, whether

26 	publicly or privately owned, shall be treated as an electric supplier for

27 	purposes of sections 70-1012 to 70-1016.

28 	(c)(i) An associated energy storage resource shall be treated as

29 	part of the privately developed renewable energy generation facility with

30 	which the energy storage resource is associated for purposes of sections

31 	70-1012 to 70-1016.

-8-

| LB1193 |  |  |  |  |  |  |  |  |  |  |  | LB1193 |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2026 | 2026 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | (ii) If an associated energy storage resource is constructed or |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | installed after the construction of the privately developed renewable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | energy generation facility with which the energy storage resource is |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | associated, then no less than thirty days prior to the commencement of |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | construction of the associated energy storage resource, the owner of the |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | associated energy storage resource shall provide notification and |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | certification |  | to |  |  | the |  | board |  |  | that |  |  |  | satisfies |  |  | the |  | notification |  |  |  | and |
| 8 | certification requirements of subdivision (2)(a) of section 70-1014.02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 | with respect to such resource. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | (iii) Within ten days after receipt of such notification, the |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 | executive director of the board shall issue a written acknowledgment that |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 | the associated energy storage resource is part of the privately developed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 | renewable energy generation facility and is exempt from sections 70-1012 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 | to | 70-1014.01 |  | if |  |  | such |  |  | facility |  |  |  | remains |  |  | in |  | compliance |  |  |  | with | the |
| 15 | requirements of this section. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 | (iv) When a privately developed renewable energy generation facility |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 | is decommissioned, the exemption from sections 70-1012 to 70-1014.01 for |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 | all associated energy storage resources of the facility shall end. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 | (4) Property owned, used, or operated as part of an energy storage |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 | resource shall not be subject to eminent domain by any consumer-owned |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 | electric supplier operating in the State of Nebraska. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 | (5)(a) Any energy storage resource in the state shall comply with |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 | the minimum codes and standards for energy storage resource equipment or |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 | facilities in effect at the time of construction of the resource |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 | established by the International Fire Code, as adopted and amended by the |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 | State Fire Marshal, and National Fire Protection Association 855, |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 | Standard for the Installation of Stationary Energy Storage Systems. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 | (b) Where a conflict exists between the International Fire Code and |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 | National Fire Protection Association 855, Standard for the Installation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 | of | Stationary |  |  | Energy |  |  |  | Storage |  |  |  | Systems, |  |  | National |  |  |  |  | Fire | Protection |  |  |
| 31 | Association 855, Standard for the Installation of Stationary Energy |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

-9-

LB1193 	LB1193

2026 	2026

1 	Storage Systems, shall control.

2 	(6) Any energy storage resources in this state, other than energy

3 	storage resources installed in single-family or two-family dwellings as

4 	defined in National Fire Protection Association 855, Standard for the

5 	Installation of Stationary Energy Storage Systems, shall have and

6 	maintain, at an onsite location accessible to local first responders, a

7 	site-specific emergency operations plan. The site-specific emergency

8 	operations plan shall include:

9 	(a) Identification of potential risks and hazards specific to the

10 	site;

11 	(b) Hazard mitigation measures;

12 	(c) Procedures for the safe shutdown, deenergizing, or isolation of

13 	equipment and systems under emergency conditions, including emergency

14 	procedures to be followed in case of fire;

15 	(d) Procedures for handling equipment damaged in a fire or other

16 	emergency event;

17 	(e) Procedures and schedules for conducting drills using the

18 	procedures described in this subsection and documentation related to the

19 	performance of the drills;

20 	(f) Procedures for communication between the operator of the energy

21 	storage resource and first responders, including procedures that

22 	facilitate communication between first responders and emergency contacts

23 	for the operator; and

24 	(g) Emergency operations protocols to ensure safety during critical

25 	events, including protocols that provide for the safety of nearby

26 	residents, neighboring properties, first responders, and the environment,

27 	and measures to mitigate or prevent pollution of air, soil, groundwater,

28 	and surface water.

29 	(7) Before an energy storage resource commences operation, its owner

30 	shall provide the site-specific emergency operations plan of the resource

31 	to the local agency that is responsible for providing fire protection

-10-

| LB1193 |  |  |  |  |  | LB1193 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2026 | 2026 |  |  |  |  |  |  |  |  |  |
| 1 | services in the area. |  |  |  |  |  |  |  |  |  |
| 2 | (8) Every energy storage resource owner in the state shall offer to |  |  |  |  |  |  |  |  |  |
| 3 | local first responders, at no cost to the responders, education and |  |  |  |  |  |  |  |  |  |
| 4 | annual training regarding responding to an equipment failure incident at |  |  |  |  |  |  |  |  |  |
| 5 | the energy storage resource. The training shall include: |  |  |  |  |  |  |  |  |  |
| 6 | (a) Information on specific characteristics of energy storage |  |  |  |  |  |  |  |  |  |
| 7 | resource technology; |  |  |  |  |  |  |  |  |  |
| 8 | (b) Information on protecting first responders during an equipment |  |  |  |  |  |  |  |  |  |
| 9 | failure incident; |  |  |  |  |  |  |  |  |  |
| 10 | (c) Information on hazards commonly associated with an equipment |  |  |  |  |  |  |  |  |  |
| 11 | failure incident; |  |  |  |  |  |  |  |  |  |
| 12 | (d) Information on equipment failure incident response protocols, |  |  |  |  |  |  |  |  |  |
| 13 | including an overview of the site-specific emergency operations plan |  |  |  |  |  |  |  |  |  |
| 14 | developed under subsection (6) of this section; and |  |  |  |  |  |  |  |  |  |
| 15 | (e) An onsite review of the perimeter, major equipment, ingress, and |  |  |  |  |  |  |  |  |  |
| 16 | egress of the energy storage resource. |  |  |  |  |  |  |  |  |  |
| 17 | (9) Unless expressly authorized by state law, no entity with |  |  |  |  |  |  |  |  |  |
| 18 | authority | to | regulate | an | energy |  | storage | resource, | including | a |
| 19 | municipality, shall adopt, enforce, or maintain any safety standard or |  |  |  |  |  |  |  |  |  |
| 20 | testing requirement for energy storage resources that is different from |  |  |  |  |  |  |  |  |  |
| 21 | those set forth in sections 70-1001 to 70-1028.02. |  |  |  |  |  |  |  |  |  |
| 22 | (10) A scrutinized company shall not own or operate an energy |  |  |  |  |  |  |  |  |  |
| 23 | storage resource in the state. |  |  |  |  |  |  |  |  |  |
| 24 | Sec. 4. Section 77-105, Reissue Revised Statutes of Nebraska, is |  |  |  |  |  |  |  |  |  |
| 25 | amended to read: |  |  |  |  |  |  |  |  |  |
| 26 | 77-105 The term tangible personal property includes all personal |  |  |  |  |  |  |  |  |  |
| 27 | property possessing a physical existence, excluding money. The term |  |  |  |  |  |  |  |  |  |
| 28 | tangible personal property also includes trade fixtures, which means |  |  |  |  |  |  |  |  |  |
| 29 | machinery and equipment, regardless of the degree of attachment to real |  |  |  |  |  |  |  |  |  |
| 30 | property, used directly in commercial, manufacturing, or processing |  |  |  |  |  |  |  |  |  |
| 31 | activities conducted on real property, regardless of whether the real |  |  |  |  |  |  |  |  |  |

-11-

LB1193 	LB1193

2026 	2026

1 	property is owned or leased, and all depreciable tangible personal

2 	property described in subsection (9) of section 77-202 used in the

3 	generation of electricity using wind, solar, biomass, or landfill gas as

4 	the fuel source or in the storage of such electricity in an energy

5 	storage resource as defined in section 3 of this act or as an energy

6 	storage resource as defined in section 3 of this act. The term intangible

7 	personal property includes all other personal property, including money.

8 	Sec. 5. Section 77-202, Revised Statutes Supplement, 2025, is

9 	amended to read:

10 	77-202 (1) The following property shall be exempt from property

11 	taxes:

12 	(a) Property of the state and its governmental subdivisions to the

13 	extent used or being developed for use by the state or governmental

14 	subdivision for a public purpose. For purposes of this subdivision:

15 	(i) Property of the state and its governmental subdivisions means

16 	(A) property held in fee title by the state or a governmental subdivision

17 	or (B) property beneficially owned by the state or a governmental

18 	subdivision in that it is used for a public purpose and is being acquired

19 	under a lease-purchase agreement, financing lease, or other instrument

20 	which provides for transfer of legal title to the property to the state

21 	or a governmental subdivision upon payment of all amounts due thereunder.

22 	If the property to be beneficially owned by a governmental subdivision

23 	has a total acquisition cost that exceeds the threshold amount or will be

24 	used as the site of a public building with a total estimated construction

25 	cost that exceeds the threshold amount, then such property shall qualify

26 	for an exemption under this section only if the question of acquiring

27 	such property or constructing such public building has been submitted at

28 	a primary, general, or special election held within the governmental

29 	subdivision and has been approved by the voters of the governmental

30 	subdivision. For purposes of this subdivision, threshold amount means the

31 	greater of fifty thousand dollars or six-tenths of one percent of the

-12-

LB1193 	LB1193

2026 	2026

1 	total actual value of real and personal property of the governmental

2 	subdivision that will beneficially own the property as of the end of the

3 	governmental subdivision's prior fiscal year; and

4 	(ii) Public purpose means use of the property (A) to provide public

5 	services with or without cost to the recipient, including the general

6 	operation of government, public education, public safety, transportation,

7 	public works, civil and criminal justice, public health and welfare,

8 	developments by a public housing authority, parks, culture, recreation,

9 	community development, and cemetery purposes, or (B) to carry out the

10 	duties 	and 	responsibilities 	conferred 	by 	law 	with 	or 	without

11 	consideration. Public purpose does not include leasing of property to a

12 	private party unless the lease of the property is at fair market value

13 	for a public purpose. Leases of property by a public housing authority to

14 	low-income individuals as a place of residence are for the authority's

15 	public purpose;

16 	(b) Unleased property of the state or its governmental subdivisions

17 	which is not being used or developed for use for a public purpose but

18 	upon which a payment in lieu of taxes is paid for public safety, rescue,

19 	and emergency services and road or street construction or maintenance

20 	services to all governmental units providing such services to the

21 	property. Except as provided in Article VIII, section 11, of the

22 	Constitution of Nebraska, the payment in lieu of taxes shall be based on

23 	the proportionate share of the cost of providing public safety, rescue,

24 	or emergency services and road or street construction or maintenance

25 	services unless a general policy is adopted by the governing body of the

26 	governmental subdivision providing such services which provides for a

27 	different method of determining the amount of the payment in lieu of

28 	taxes. The governing body may adopt a general policy by ordinance or

29 	resolution for determining the amount of payment in lieu of taxes by

30 	majority vote after a hearing on the ordinance or resolution. Such

31 	ordinance or resolution shall nevertheless result in an equitable

-13-

LB1193 	LB1193

2026 	2026

1 	contribution for the cost of providing such services to the exempt

2 	property;

3 	(c) Property owned by and used exclusively for agricultural and

4 	horticultural societies;

5 	(d)(i) Property owned by educational, religious, charitable, or

6 	cemetery organizations, or any organization for the exclusive benefit of

7 	any such educational, religious, charitable, or cemetery organization,

8 	and used exclusively for educational, religious, charitable, or cemetery

9 	purposes, when such property is not (A) owned or used for financial gain

10 	or profit to either the owner or user, (B) used for the sale of alcoholic

11 	liquors for more than twenty hours per week, or (C) owned or used by an

12 	organization which discriminates in membership or employment based on

13 	race, color, or national origin.

14 	(ii) For purposes of subdivision (1)(d) of this section:

15 	(A) Educational organization means (I) an institution operated

16 	exclusively for the purpose of offering regular courses with systematic

17 	instruction in academic, vocational, or technical subjects or assisting

18 	students through services relating to the origination, processing, or

19 	guarantying of federally reinsured student loans for higher education,

20 	(II) a museum or historical society operated exclusively for the benefit

21 	and education of the public, or (III) a nonprofit organization that owns

22 	or operates a child care facility; and

23 	(B) Charitable organization includes (I) an organization operated

24 	exclusively for the purpose of the mental, social, or physical benefit of

25 	the public or an indefinite number of persons and (II) a fraternal

26 	benefit society organized and licensed under sections 44-1072 to

27 	44-10,109.

28 	(iii) The property tax exemption authorized in subdivision (1)(d)(i)

29 	of this section shall apply to any for-profit skilled nursing facility,

30 	for-profit nursing facility, or for-profit assisted-living facility that

31 	provides housing for medicaid beneficiaries, except that the exemption

-14-

LB1193 	LB1193

2026 	2026

1 	amount for such property shall be a percentage of the property taxes that

2 	would otherwise be due. Such percentage shall be equal to the average

3 	percentage of occupied beds in the facility provided to medicaid

4 	beneficiaries over the most recent three-year period. This subdivision

5 	shall not be construed to modify, limit, or reduce any property tax

6 	exemption provided to a nonprofit skilled nursing facility, nonprofit

7 	nursing facility, or nonprofit assisted-living facility pursuant to

8 	subdivision (1)(d)(i) of this section. For purposes of this subdivision,

9 	skilled nursing facility has the same meaning as in section 71-429,

10 	nursing facility has the same meaning as in section 71-424, and assisted-

11 	living facility has the same meaning as in section 71-5903.

12 	(iv) The property tax exemption authorized in subdivision (1)(d)(i)

13 	of this section shall apply to a building that (A) is owned by a

14 	charitable organization, (B) is made available to students in attendance

15 	at an educational institution, and (C) is recognized by such educational

16 	institution as approved student housing, except that the exemption shall

17 	only apply to the commons area of such building, including any common

18 	rooms and cooking and eating facilities;

19 	(e) Household goods and personal effects not owned or used for

20 	financial gain or profit to either the owner or user; and

21 	(f) A portion of the property owned by a taxpayer as provided in the

22 	Recreational Trail Easement Property Tax Exemption Act.

23 	(2) The increased value of land by reason of shade and ornamental

24 	trees planted along the highway shall not be taken into account in the

25 	valuation of land.

26 	(3) Tangible personal property which is not depreciable tangible

27 	personal property as defined in section 77-119 shall be exempt from

28 	property tax.

29 	(4) Motor vehicles, trailers, and semitrailers required to be

30 	registered for operation on the highways of this state shall be exempt

31 	from payment of property taxes.

-15-

LB1193 	LB1193

2026 	2026

1 	(5) Business and agricultural inventory shall be exempt from the

2 	personal property tax. For purposes of this subsection, business

3 	inventory includes personal property owned for purposes of leasing or

4 	renting such property to others for financial gain only if the personal

5 	property is of a type which in the ordinary course of business is leased

6 	or rented thirty days or less and may be returned at the option of the

7 	lessee or renter at any time and the personal property is of a type which

8 	would be considered household goods or personal effects if owned by an

9 	individual. All other personal property owned for purposes of leasing or

10 	renting such property to others for financial gain shall not be

11 	considered business inventory.

12 	(6) Any personal property exempt pursuant to subsection (2) of

13 	section 77-4105 or section 77-5209.02 shall be exempt from the personal

14 	property tax.

15 	(7) Livestock shall be exempt from the personal property tax.

16 	(8) Any personal property exempt pursuant to the Nebraska Advantage

17 	Act or the ImagiNE Nebraska Act shall be exempt from the personal

18 	property tax.

19 	(9) Any depreciable tangible personal property used directly in the

20 	generation of electricity using wind as the fuel source or in the storage

21 	of such electricity in an energy storage resource as defined in section 3

22 	of this act shall be exempt from the property tax levied on depreciable

23 	tangible personal property. Any depreciable tangible personal property

24 	used directly in the generation of electricity using solar, biomass, or

25 	landfill gas as the fuel source or in the storage of such electricity in

26 	an energy storage resource as defined in section 3 of this act shall be

27 	exempt from the property tax levied on depreciable tangible personal

28 	property if such depreciable tangible personal property was installed on

29 	or after January 1, 2016, and has a nameplate capacity of one hundred

30 	kilowatts or more. For tax years beginning on or after January 1, 2027,

31 	any depreciable tangible personal property used as an energy storage

-16-

LB1193 	LB1193

2026 	2026

1 	resource as defined in section 3 of this act shall be exempt from the

2 	property tax levied on depreciable tangible personal property if such

3 	depreciable tangible personal property has a nameplate capacity of one

4 	hundred kilowatts or more. Depreciable tangible personal property used

5 	directly in the generation or storage of electricity using wind, solar,

6 	biomass, or landfill gas as the fuel source includes, but is not limited

7 	to, wind turbines, rotors and blades, towers, solar panels, trackers,

8 	generating equipment, transmission components, substations, supporting

9 	structures or racks, inverters, and other system components such as

10 	wiring, control systems, switchgears, and generator step-up transformers,

11 	battery modules, battery racks, power conversion systems, battery

12 	enclosures, battery cells, and battery management systems.

13 	(10) Any tangible personal property that is acquired by a person

14 	operating a data center located in this state, that is assembled,

15 	engineered, processed, fabricated, manufactured into, attached to, or

16 	incorporated into other tangible personal property, both in component

17 	form or that of an assembled product, for the purpose of subsequent use

18 	at a physical location outside this state by the person operating a data

19 	center shall be exempt from the personal property tax. Such exemption

20 	extends to keeping, retaining, or exercising any right or power over

21 	tangible personal property in this state for the purpose of subsequently

22 	transporting it outside this state for use thereafter outside this state.

23 	For purposes of this subsection, data center means computers, supporting

24 	equipment, and other organized assembly of hardware or software that are

25 	designed to centralize the storage, management, or dissemination of data

26 	and information, environmentally controlled structures or facilities or

27 	interrelated structures or facilities that provide the infrastructure for

28 	housing the equipment, such as raised flooring, electricity supply,

29 	communication and data lines, Internet access, cooling, security, and

30 	fire suppression, and any building housing the foregoing.

31 	(11) For tax years prior to tax year 2020, each person who owns

-17-

LB1193 	LB1193

2026 	2026

1 	property required to be reported to the county assessor under section

2 	77-1201 shall be allowed an exemption amount as provided in the Personal

3 	Property Tax Relief Act. For tax years prior to tax year 2020, each

4 	person who owns property required to be valued by the state as provided

5 	in section 77-601, 77-682, 77-801, or 77-1248 shall be allowed a

6 	compensating exemption factor as provided in the Personal Property Tax

7 	Relief Act.

8 	(12)(a) Broadband equipment shall be exempt from the personal

9 	property tax if such broadband equipment is:

10 	(i) Deployed in an area funded in whole or in part by funds from the

11 	Broadband Equity, Access, and Deployment Program, authorized by the

12 	federal Infrastructure Investment and Jobs Act, Public Law 117-58; or

13 	(ii) Deployed in a qualified census tract located within the

14 	corporate limits of a city of the metropolitan class and being utilized

15 	to provide end-users with access to the Internet at speeds of at least

16 	one hundred megabits per second for downloading and at least one hundred

17 	megabits per second for uploading.

18 	(b) An owner of broadband equipment seeking an exemption under this

19 	section shall apply for an exemption to the county assessor on or before

20 	December 31 of the year preceding the year for which the exemption is to

21 	begin. If the broadband equipment meets the criteria described in this

22 	subsection, the county assessor shall approve the application within

23 	thirty calendar days after receiving the application. The application

24 	shall be on forms prescribed by the Tax Commissioner.

25 	(c) For purposes of this subsection:

26 	(i) Broadband 	communications 	service 	means 	telecommunications

27 	service as defined in section 86-121, video programming as defined in 47

28 	U.S.C. 522, as such section existed on January 1, 2024, or Internet

29 	access as defined in section 1104 of the federal Internet Tax Freedom

30 	Act, Public Law 105-277;

31 	(ii) Broadband equipment means machinery or equipment used to

-18-

LB1193 	LB1193

2026 	2026

1 	provide broadband communications service and includes, but is not limited

2 	to, wires, cables, fiber, conduits, antennas, poles, switches, routers,

3 	amplifiers, rectifiers, repeaters, receivers, multiplexers, duplexers,

4 	transmitters, circuit cards, insulating and protective materials and

5 	cases, power equipment, backup power equipment, diagnostic equipment,

6 	storage devices, modems, and other general central office or headend

7 	equipment, such as channel cards, frames, and cabinets, or equipment used

8 	in successor technologies, including items used to monitor, test,

9 	maintain, enable, 	or 	facilitate 	qualifying 	equipment, 	machinery,

10 	software, ancillary components, appurtenances, accessories, or other

11 	infrastructure that is used in whole or in part to provide broadband

12 	communications service. Machinery or equipment used to produce broadband

13 	communications service does not include personal consumer electronics,

14 	including, but not limited to, smartphones, computers, and tablets; and

15 	(iii) Qualified census tract means a qualified census tract as

16 	defined in 26 U.S.C. 42(d)(5)(B)(ii)(I), as such section existed on

17 	January 1, 2024.

18 	Sec. 6. Section 77-6201, Reissue Revised Statutes of Nebraska, is

19 	amended to read:

20 	77-6201 The Legislature finds and declares:

21 	(1) The purpose of the nameplate capacity tax levied under section

22 	77-6203 is to replace property taxes currently imposed on renewable

23 	energy and energy storage infrastructure and depreciated over a short

24 	period of time in a way that causes local budgeting challenges and

25 	increases upfront costs for renewable energy developers;

26 	(2) The nameplate capacity tax should be competitive with taxes

27 	imposed directly and indirectly on renewable energy generation, storage,

28 	and development in other states;

29 	(3) The nameplate capacity tax should be fair and nondiscriminatory

30 	when compared with other taxes imposed on other industries in the state;

31 	and

-19-

LB1193 	LB1193

2026 	2026

1 	(4) The nameplate capacity tax should not be singled out as a source

2 	of General Fund revenue during times of economic hardship.

3 	Sec. 7. Section 77-6202, Revised Statutes Cumulative Supplement,

4 	2024, is amended to read:

5 	77-6202 For purposes of sections 77-6201 to 77-6204:

6 	(1) Commissioned means the renewable energy generation facility or

7 	energy storage resource has been in commercial operation for at least

8 	twenty-four hours. A renewable energy generation facility or energy

9 	storage resource is not in commercial operation unless the renewable

10 	energy generation facility or energy storage resource is connected and

11 	transmitting energy to the electrical grid, to an associated renewable

12 	energy generation facility, or to the end user if the renewable energy

13 	generation facility is a customer-generator as defined in section

14 	70-2002;

15 	(2) Energy storage resource has the same meaning as in section 3 of

16 	this act;

17 	(3) (2) Nameplate capacity means the capacity of (a) a renewable

18 	energy generation facility to generate electricity as measured in

19 	megawatts, including fractions of a megawatt, or (b) an energy storage

20 	resource to store electricity as measured in megawatts, including

21 	fractions of a megawatt. Nameplate capacity shall be determined based on

22 	the facility's alternating current capacity of the facility or resource;

23 	and

24 	(4) (3) Renewable energy generation facility means (a) a facility

25 	that generates electricity using wind as the fuel source or (b) a

26 	facility that generates electricity using solar, biomass, or landfill gas

27 	as the fuel source if such facility was installed on or after January 1,

28 	2016, and has a nameplate capacity of one hundred kilowatts or more.

29 	Sec. 8. Section 77-6203, Revised Statutes Cumulative Supplement,

30 	2024, is amended to read:

31 	77-6203 (1)(a) (1) The owner of a renewable energy generation

-20-

LB1193 	LB1193

2026 	2026

1 	facility annually shall pay a nameplate capacity tax equal to the total

2 	nameplate capacity of the commissioned renewable energy generation

3 	facility multiplied by a tax rate of three thousand five hundred eighteen

4 	dollars per megawatt.

5 	(b) The owner of an energy storage resource annually shall pay a

6 	nameplate capacity tax equal to the total nameplate capacity of the

7 	commissioned energy storage resource multiplied by a tax rate of two

8 	thousand nine hundred fifty-two dollars per megawatt.

9 	(2) No tax shall be imposed on a renewable energy generation

10 	facility or energy storage resource:

11 	(a) Owned or operated by the federal government, the State of

12 	Nebraska, a public power district, a public power and irrigation

13 	district, an 	individual 	municipality, 	a 	registered 	group 	of

14 	municipalities, an electric membership association, or a cooperative; or

15 	(b) That is a customer-generator as defined in section 70-2002.

16 	(3) No tax levied pursuant to this section shall be construed to

17 	constitute restricted funds as defined in section 13-518 for the first

18 	five years after the renewable energy generation facility or energy

19 	storage resource is commissioned.

20 	(4) Not withstanding any other law to the contrary, the The presence

21 	of one or more renewable energy generation facilities, energy storage

22 	resources, or supporting infrastructure shall not be a factor in the

23 	assessment, determination of actual value, or classification under

24 	section 77-201 of the real property underlying or adjacent to such

25 	facilities, resources, or infrastructure.

26 	(5)(a)(i) On or before March 1 of each year, the owner of a

27 	renewable energy generation facility or energy storage resource subject

28 	to the nameplate capacity tax shall file a report with the county

29 	treasurer of each county in which the facility or resource is located and

30 	provide a copy of such report to the Department of Revenue.

31 	(ii) The report shall state the nameplate capacity of the facility

-21-

LB1193 	LB1193

2026 	2026

1 	or resource for the prior calendar year from January 1 through December

2 	31 and shall be on a form prescribed by the Department of Revenue.

3 	(b) Upon receipt of the report filed pursuant to subdivision (5)(a)

4 	of this section, the county treasurer shall calculate the amount of the

5 	nameplate capacity tax based on the reported nameplate capacity and the

6 	tax rate provided in subsection (1) of this section. The county treasurer

7 	shall, prior to April 1 of each year, notify the owner of the amount of

8 	tax due and the date such tax is due.

9 	(c) The Department of Revenue shall review all reports filed

10 	pursuant to subdivision (5)(a) of this section for accuracy, consistency,

11 	and compliance with this section. The Department of Revenue may audit

12 	facilities as necessary to verify reported nameplate capacity. (5)(a) The

13 	Department of Revenue shall collect the tax due under this section.

14 	(d) (b) The tax shall be imposed beginning the first calendar year

15 	the renewable energy generation facility or energy storage resource is

16 	commissioned. A renewable energy generation facility that uses wind as

17 	the fuel source which was commissioned prior to July 15, 2010, shall be

18 	subject to the tax levied pursuant to sections 77-6201 to 77-6204 on and

19 	after January 1, 2010. The amount of property tax on depreciable tangible

20 	personal property previously paid on a renewable energy generation

21 	facility that uses wind as the fuel source which was commissioned prior

22 	to July 15, 2010, which is greater than the amount that would have been

23 	paid pursuant to sections 77-6201 to 77-6204 from the date of

24 	commissioning until January 1, 2010, shall be credited against any tax

25 	due under Chapter 77, and any amount so credited that is unused in any

26 	tax year shall be carried over to subsequent tax years until fully

27 	utilized. Beginning January 1, 2027, energy storage resources shall be

28 	subject to the tax levied pursuant to sections 77-6201 to 77-6204. The

29 	amount of property tax on depreciable tangible personal property that an

30 	energy storage resource incurred before January 1, 2027, shall be

31 	credited against any tax the resource incurs under Chapter 77 on or after

-22-

LB1193 	LB1193

2026 	2026

1 	January 1, 2027, and any amount so credited that is unused in any tax

2 	year shall be carried over to subsequent tax years until fully utilized.

3 	(e)(i) (c)(i) The tax for the first calendar year shall be prorated

4 	based upon the number of days remaining in the calendar year after the

5 	renewable energy generation facility or energy storage resource is

6 	commissioned.

7 	(ii) In the first year in which a renewable energy generation

8 	facility or energy storage resource is taxed or in any year in which

9 	additional commissioned nameplate capacity is added to a renewable energy

10 	generation facility or energy storage resource, the taxes on the initial

11 	or additional nameplate capacity shall be prorated for the number of days

12 	remaining in the calendar year.

13 	(iii) When a renewable energy generation facility or energy storage

14 	resource is decommissioned or made nonoperational by a change in law

15 	during a tax year, the taxes shall be prorated for the number of days

16 	during which the renewable energy generation facility or energy storage

17 	resource was not decommissioned or was operational.

18 	(iv) When the capacity of a renewable energy generation facility or

19 	energy storage resource to produce or store electricity is reduced but

20 	the renewable energy generation facility or energy storage resource is

21 	not decommissioned, the nameplate capacity of the renewable energy

22 	generation facility or energy storage resource is deemed to be unchanged.

23 	(6)(a) On March 1 of each year, the owner of a renewable energy

24 	generation facility shall file with the Department of Revenue a report on

25 	the nameplate capacity of the facility for the previous year from January

26 	1 through December 31. All taxes imposed pursuant to sections 77-6201 to

27 	77-6204 shall be due on April 1 and shall be delinquent if not paid to

28 	the county treasurer of each county in which the renewable energy

29 	generation facility or energy storage resource is located. on a quarterly

30 	basis on April 1 and each quarter thereafter. Delinquent quarterly

31 	payments shall draw interest at the rate provided for in section

-23-

LB1193 	LB1193

2026 	2026

1 	45-104.02, as such rate may from time to time be adjusted.

2 	(b) The owner of a renewable energy generation facility or energy

3 	storage resource is liable for the taxes under this section with respect

4 	to the facility or resource, whether or not the owner of the facility or

5 	resource is the owner of the land on which the facility or resource is

6 	situated.

7 	(7) Failure to file a report required by subsection (6) of this

8 	section, filing such report late, failure to pay taxes due, or

9 	underpayment of such taxes shall result in a penalty of five percent of

10 	the amount due being imposed for each quarter the report is overdue or

11 	the payment is delinquent, except that the penalty shall not exceed ten

12 	thousand dollars.

13 	(8) The Department of Revenue shall enforce the provisions of this

14 	section. The department may adopt and promulgate rules and regulations

15 	to:

16 	(a) Prescribe the form and content of reports required under

17 	subsection (5) of this section;

18 	(b) Establish audit procedures and standards for verifying nameplate

19 	capacity reported under subsection (5) of this section;

20 	(c) Ensure consistent calculation and collection of the nameplate

21 	capacity tax across all counties; and

22 	(d) Establish procedures for assessing penalties authorized under

23 	subsection (7) of this section for failure to file required reports, late

24 	filing, failure to pay taxes due, or underpayment of taxes. necessary for

25 	the implementation and enforcement of this section.

26 	(9) The county treasurer shall distribute all revenue received

27 	pursuant to this section as provided in section 77-6204 within thirty

28 	days after receipt of such revenue. The Department of Revenue shall

29 	separately identify the proceeds from the tax imposed by this section and

30 	shall pay all such proceeds over to the county treasurer of the county

31 	where the renewable energy generation facility is located within thirty

-24-

LB1193 	LB1193

2026 	2026

1 	days after receipt of such proceeds.

2 	(10) Each county treasurer shall report annually to the Department

3 	of Revenue the total amount of nameplate capacity tax collected under

4 	this section for audit and verification purposes.

5 	Sec. 9. Section 77-6204, Revised Statutes Supplement, 2025, is

6 	amended to read:

7 	77-6204 (1)(a) (1) The county treasurer shall distribute all revenue

8 	received from taxes levied prior to January 1, 2027, the Department of

9 	Revenue pursuant to section 77-6203 as follows:

10 	(i) (a) Five percent of such revenue shall be distributed to the

11 	community college area in which the renewable energy generation facility

12 	is located; and

13 	(ii) (b) The remainder of such revenue shall be distributed to local

14 	taxing entities which, but for such personal property tax exemption,

15 	would have received distribution of personal property tax revenue from

16 	depreciable personal property used directly in the generation of

17 	electricity using wind, solar, biomass, or landfill gas as the fuel

18 	source.

19 	(b) The county treasurer shall distribute all revenue from taxes

20 	levied on or after January 1, 2027, pursuant to section 77-6203 as

21 	follows:

22 	(i) Ninety-five percent of such revenue shall be distributed to the

23 	counties in proportion to the amount of tax paid by renewable energy

24 	generation facilities or energy storage resources physically located in

25 	each county. If the facility or resource is located entirely within one

26 	county, all such revenue from the tax paid by such facility or resource

27 	shall be distributed to that county. If the facility or resource is

28 	located in more than one county, the revenue from the tax paid by such

29 	facility or resource shall be apportioned among such counties in

30 	proportion to the amount of nameplate capacity of the facility or

31 	resource that is physically located within each county's boundaries;

-25-

LB1193 	LB1193

2026 	2026

1 	(ii) Five percent of such revenue shall be distributed to the

2 	community college areas, as defined in section 85-1503, in proportion to

3 	the amount of tax paid by renewable energy generation facilities or

4 	energy storage resources physically located in each community college

5 	area. If the facility or resource is located entirely within one

6 	community college area, all such revenue from the tax paid by such

7 	facility or resource shall be distributed to that community college area.

8 	If the facility or resource is located in more than one community college

9 	area, the revenue from the tax paid by such facility or resource shall be

10 	apportioned among such community college areas in proportion to the

11 	amount of nameplate capacity of the facility or resource that is

12 	physically located within each community college area's boundaries.

13 	(2) A local taxing entity's status as eligible for distribution

14 	under subdivision (1)(a)(ii) (1)(b) of this section shall not be affected

15 	when and if the net book value of personal property used directly in the

16 	generation of electricity using wind, solar, biomass, or landfill gas as

17 	the fuel source becomes zero. A local taxing entity's status as eligible

18 	for distribution under such subdivision shall be affected by the disposal

19 	of all of the exempt depreciable personal property used directly in the

20 	generation of electricity using wind, solar, biomass, or landfill gas as

21 	the fuel source.

22 	(3) The distribution to each eligible local taxing entity under

23 	subdivision (1)(a)(ii) (1)(b) of this section shall be calculated by

24 	determining the amount of taxes that the eligible local taxing entity

25 	levied during the taxable year and dividing this amount by the total tax

26 	levied by all of the eligible local taxing entities during the year. Each

27 	eligible entity's resulting fraction shall then be multiplied by the

28 	amount of revenue available for distribution pursuant to subdivision (1)

29 	(a)(ii) (1)(b) of this section to determine the portion of such revenue

30 	due each local taxing entity.

31 	(4) The Department of Revenue shall not retain any revenue collected

-26-

LB1193 	LB1193

2026 	2026

1 	pursuant to sections 77-6201 to 77-6204 for distribution, use, transfer,

2 	pledge, or allocation to or from the General Fund.

3 	(5) Each county treasurer shall report annually to the Department of

4 	Revenue the distribution of revenue under this section for audit and

5 	verification purposes.

6 	(6) For purposes of this section, the physical location of nameplate

7 	capacity of a renewable energy generation facility or energy storage

8 	resource shall be determined as follows:

9 	(a) For wind energy generation facilities, by the location of each

10 	wind turbine structure;

11 	(b) For solar energy generation facilities, by the location of each

12 	solar panel array; and

13 	(c) For energy storage resources, by the location of each energy

14 	storage container.

15 	Sec. 10.  This act becomes operative on January 1, 2027.

16 	Sec. 11.  Original sections 77-105 and 77-6201, Reissue Revised

17 	Statutes of Nebraska, sections 77-6202 and 77-6203, Revised Statutes

18 	Cumulative Supplement, 2024, and sections 13-518, 70-1001.01, 77-202, and

19 	77-6204, Revised Statutes Supplement, 2025, are repealed.

-27-