LB20 	LB20

2025 	2025

LEGISLATURE OF NEBRASKA

ONE HUNDRED NINTH LEGISLATURE

FIRST SESSION

LEGISLATIVE BILL 20

FINAL READING

Introduced by Cavanaugh, J., 9.

Read first time January 09, 2025

Committee: Natural Resources

1 	A BILL FOR AN ACT relating to renewable energy; to define terms; and to

2 	provide for electric service between a local distribution system and

3 	an agricultural self-generation facility as prescribed.

4 	Be it enacted by the people of the State of Nebraska,

-1-

LB20 	LB20

2025 	2025

1 	Section 1.  (1) For purposes of this section:

2 	(a) Agricultural or horticultural purposes has the same meaning as

3 	in section 77-1359;

4 	(b) Agricultural self-generation facility means a facility for the

5 	production of electricity that:

6 	(i) Uses methane, wind, solar, biomass, hydropower, or geothermal

7 	resources as its energy source;

8 	(ii) Is controlled by the owner-generator and located entirely on

9 	the same premises as the owner-generator's electric account with the

10 	local distribution utility;

11 	(iii) Is owned, leased, or otherwise controlled by the owner-

12 	generator and used for agricultural or horticultural purposes;

13 	(iv) Has a rated capacity of one hundred kilowatts or less;

14 	(v) Utilizes a device which prevents any backfeed of electricity to

15 	the local distribution system; and

16 	(vi) Is not used for purposes of net metering;

17 	(c) Local distribution system means the equipment and facilities

18 	used by a local distribution utility to distribute electricity to end-use

19 	customers;

20 	(d) Local distribution utility means the owner or operator of a

21 	local distribution system. Local distribution utility includes a public

22 	power district, a public power and irrigation district, an electric

23 	cooperative, or a municipal electric system;

24 	(e) Net metering has the same meaning as in section 70-2002; and

25 	(f) Owner-generator means the person controlling an agricultural

26 	self-generation facility.

27 	(2) No local distribution utility shall deny or refuse electric

28 	service to a customer that owns an agricultural self-generation facility.

29 	An owner-generator is subject to the interconnection requirements, safety

30 	standards, electric rates and charges, and service agreement requirements

31 	of the local distribution utility in whose service area the agricultural

-2-

LB20 	LB20

2025 	2025

1 	self-generation facility is located. Nothing in this subsection shall be

2 	construed to prohibit a local distribution utility from establishing the

3 	rates or fees necessary to fully cover its costs to serve a customer that

4 	is an owner-generator.

5 	(3) An owner-generator shall notify the local distribution utility

6 	of such owner-generator's intent to install an agricultural self-

7 	generation facility.

-3-